## Switching Station 12.05.202 (2)
SCHEDULE (16 /26-27 )
Name of the Work: "Erection of 1 No. 33kV Switching station near 132/33kV Manikonda Sub-Station with 3 Nos. 33kV dedicated sources from 132/33kV Manikonda Sub-Station in Operation Division, Ibrahimbagh pertaining to Master Plan SD-2 of ECGH Division in Ranga Reddy Circle under T&D improvement works".
1. D.No :San No. 08/2026-27, D. No. 313/2026-27, Dt: 12.05.2026
2. WBS No. Supply 1970-13-03-02-01-001
Sl No | Estimate Quantity | Description of item | Work Type | Item Short Description | Service Code | Rate (INR) | UOM | AMOUNT Rs
1 | 1 | Loading of 50,63, 75 & 100 KVA DTR | ELECTY | Labour | SWR10195 | 350 | EA | 350
2 | 1 | Transport of conductor drums, cable drums, fragile material such as kiosks, VCBs, control panels, Battery Chargers with Batteries, RMU, current transformers, boosters, lightning arrestors, insulators, transformers, meters (which are less in weight and occupy more space) (excluding of loading unloading) Note: 1). It will be treated as full load of 10 MT and paid for 10 MT. 2). For 3 Ton vehicle : 50% of the following rates Above 30 Km and upto 50 Km with Lorry for each trip | ELECTY | Labour | SWR11863 | 4372.74 | EA | 4372.74
3 | 1 | Un loading of 50,63, 75 & 100 KVA DTR | ELECTY | Labour | SWR10513 | 280 | EA | 280
4 | 1 | Construction of DTR Plinth RCC Column type DTR Plinth of size 1'X1'X10',topslab 4'x4'x6" & beam size 4'X8'X8" upto 160KVA | ELECTY | Labour | SWR21843 | 25967.57 | EA | 25967.57
5 | 1 | Erection of DTR's including loading and Unloading DTR on the Structure/Plinth etc Erection of 3 Phase DTRs 63,75 & 100 KVA | ELECTY | Labour | SWR20905 | 1815 | EA | 1815
6 | 23 | Loading of 33 KV VCBs along with Panel boards | ELECTY | Labour | SWR10198 | 1024 | EA | 23552
7 | 12 | Transport of conductor drums, cable drums, fragile material such as kiosks, VCBs, control panels, Battery Chargers with Batteries, RMU, current transformers, boosters, lightning arrestors, insulators, transformers, meters (which are less in weight and occupy more space) (excluding of loading unloading) Note: 1). It will be treated as full load of 10 MT and paid for 10 MT. 2). For 3 Ton vehicle : 50% of the following rates Above 30 Km and upto 50 Km with Lorry for each trip | ELECTY | Labour | SWR11863 | 4372.74 | EA | 52472.88
8 | 23 | Un loading of 33 KV VCBs along with Panel boards | ELECTY | Labour | SWR10516 | 1044.48 | EA | 24023.04
9 | 23 | INDOOR SS - Breaker - Erection of 33KV indoor switch gear panel/33KV indoor PT panel / Bus section panel / Bus raiser panel | ELECTY | Labour | SWR10930 | 9847 | EA | 226481
10 | 1 | Loading of 220 V Batterry with charger | ELECTY | Labour | SWR11166 | 1612 | SET | 1612
11 | 1 | Transport of conductor drums, cable drums, fragile material such as kiosks, VCBs, control panels, Battery Chargers with Batteries, RMU, current transformers, boosters, lightning arrestors, insulators, transformers, meters (which are less in weight and occupy more space) (excluding of loading unloading) Note: 1). It will be treated as full load of 10 MT and paid for 10 MT. 2). For 3 Ton vehicle : 50% of the following rates Above 30 Km and upto 50 Km with Lorry for each trip | ELECTY | Labour | SWR11863 | 4372.74 | EA | 4372.74
12 | 1 | Un loading of 220 V Batterry with charger | ELECTY | Labour | SWR11147 | 1024 | SET | 1024
13 | 1 | Batteries Erection of 220 V, 80 AH battery in complete shape fit for charging . Conventional lead acid | ELECTY | Labour | SWR12295 | 7666 | EA | 7666
14 | 1 | Control Panels Supply of AC Supply panel inluding providing of changeover switch, SFU, metering unit, 32 A three phase MCB, 16 A Single phase MCB complete as per specification. | ELECTY | Supply | SMR40045 | 42000 | EA | 42000
15 | 1 | Control Panels Erection of control/Relay panels, AC Panels, announciation panels etc in the control room duly mounting them on channels and grouting them with foundation bolts excluding cost of channels & foundation bolts | ELECTY | Labour | SWR11893 | 2122 | EA | 2122
16 | 50 | T & P - Painting of Name Plates for any equipment | ELECTY | Labour | SWR10963 | 122 | EA | 6100
17 | 20 | Providing of earthing with various types of earth electrodes. Supply of copper bonded steel rod of dia 5/8 inch with a length of 3meters, suitable for connecting 75X8 MS strip and supply of 33.9kgs ground enhancing meterial GEM-25A /Zerolyte of 0.2 ohm meter resistiviity as per IEE 142-1991 for 33/11kV Sub- Station | ELECTY | Supply | SMR40042 | 8820 | EA | 176400
18 | 20 | Providing of earthing with various types of earth electrodes. Installation of copper bonded steel rod of dia 5/8 inch with a length of 3meters refilling with ground enhancing meterial EM- 25A / Zerolyte of 0.2 ohm meter resistiviity IEE 142-1992 in Hard Rock with bore 10"dia & 20feet deep or trench of 4'W X 10'L X 5' depth back filled with black cotton soil | ELECTY | Labour | SWR10928 | 8004 | EA | 160080
19 | 531.9 | Laying of earth mat including excavation of trenches of depth 600mm, welding, connecting to equipment and connecting lightning shield to earth mat and earthing of fence posts, drilling and connecting earth rods including connecting cast iron pipes with the following sizes of MS Flats /GI Flats. including fabrication. - 75x 8mm MS Flat / GI Flat. | ELECTY | Labour | SWR10920 | 65 | RMT | 34573.5
20 | 416.6 | Fabrication and connecting to risers from earth mat to structures, equipment, marshalling boxes, electrical panels, PLCC panels, fencing posts etc. - M.S./ G.I. Flat 50x6mm / 50 x 8 mm ( Above ground) | ELECTY | Labour | SWR10919 | 41 | RMT | 17080.6
21 | 50 | Supply of earthing pipe with materials - Supply of GI Bolts & Nuts etc | ELECTY | Supply | SMR11488 | 117.5 | KG | 5875
22 | 500 | Supply and painting of Black to all earth Flat | ELECTY | Labour | SWR12217 | 55 | M | 27500
23 | 185 | Excavation & laying of UG Cable in Single Run Laying of XLPE UG cable including excavation of trench of size 450mm wide and depth of 850mm for LT, 1050mm for 11 KV and 1200mm for 33 KV from road level, providing of DWC/GI pipes whereever required depth is not acquired as per the instructions of Engineer in Charge, the prorata basis rates to be adopted for 2 feet, 3 feet depths and Providing of sand bedding 50mm before laying of cable , laying of cable and filling with sand 250mm above the cable and placing 40mm shabad protective slabs with TGSPDCL name painted , back filling the trench with earth, levelling and removing the debris from the site including the cost of lead and lift etc,. Along the CC / BT multi layer road requiring compressor - 11 KV 3x185 Sqmm Cable | ELECTY | Labour | SWR11929 | 1065.16 | M | 197054.6
24 | 15 | Raising of cable on already erected support with wooden / MS clamps and connecting it to over head line with cable jumpers including cost of required wooden cleats, lugs and bolts and nuts through GI pipe (excluding the cost of GI pipe) - 11 KV 3x185 Sqmm Cable | ELECTY | Labour | SWR11956 | 126.23 | M | 1893.45
25 | 2 | Making of Outdoor/Indoor End Termination Making 11 KV 3x185 Sqmm Cable Out Door/Indoor end termination | ELECTY | Labour | SWR10390 | 2370.63 | EA | 4741.26
26 | 10 | Loading of R.S. Joists 150 x 150mm / Rail poles | ELECTY | Labour | SWR10205 | 176 | EA | 1760
27 | 10 | Un loading of R.S. Joists 150 x 150mm / Rail poles | ELECTY | Labour | SWR10523 | 107 | EA | 1070
28 | 100 | Cutting charges for MS Sections - RS Joists 150 x 150 mm | ELECTY | Labour | SWR10297 | 48 | EA | 4800
29 | 10.25 | Transport of iron materials such as R.S. Joists, Rail Poles, fabricated supports, steel, iron, flat, M.S. Channels etc., by lorries. (excluding of loading & unloading ) Above 30 KM and upto 50 KM | ELECTY | Labour | SWR10134 | 587.52 | TO | 6022.08
30 | 6.5 | Loading of M.S.Channels, Angles, Flats & Rods etc., | ELECTY | Labour | SWR10206 | 221 | TO | 1436.5
31 | 6.5 | Un loading of M.S.Channels, Angles, Flats & Rods etc., | ELECTY | Labour | SWR10524 | 185 | TO | 1202.5
32 | 3 | Fabrication & erection of Channels - Fabrication of Main and Auxiliary structures with welding using raw steel such as RS joist, M.S.Angles, Plates, Channels, including the supply and fabrication of 6mm base plate to the RS-Joist poles excluding cost of Mild Steel and transport charges to substation site, including erection. | ELECTY | Labour | SWR10869 | 3426 | TO | 10278
33 | 3 | Fabrication & erection of Channels - Alligning the Main and Auxiliary structures such as RS joist, M.S.Angles, Plates, Channels, Structure to zero level duly leveling in prefabricated MS frames with Hydraulic jacks before galvanising/ fabrication. | ELECTY | Labour | SWR10867 | 1470 | TO | 4410
34 | 2 | Loading of R.S. Joists 175 x 85 mm | ELECTY | Labour | SWR10204 | 76 | EA | 152
35 | 2 | Un loading of R.S. Joists 175 x 85 mm | ELECTY | Labour | SWR10522 | 50 | EA | 100
36 | 0.5 | Transport of iron materials such as R.S. Joists, Rail Poles, fabricated supports, steel, iron, flat, M.S. Channels etc., by lorries. (excluding of loading & unloading ) Above 30 KM and upto 50 KM | ELECTY | Labour | SWR10134 | 587.52 | TO | 293.76
37 | 1 | Excavation of pits in hard rock requiring blasting. (other than SS) 11Mtrs PSCC Pole/ Box poles 0.75 M x 0.9 M x 1.95 M | ELECTY | Labour | SWR10113 | 1326 | EA | 1326
38 | 2 | Fabrication of poles: Fabrication of 175x85/150x75mm RS joist pieces upto 12.5 meters length by welding joint together by means of 50x6mm flat and MS channel on either side including the cost of consumable, Painting of RS Joist on inner phasing with red Oxide before Joining as box pole | ELECTY | Labour | SWR10642 | 512.55 | EA | 1025.1
39 | 1 | Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavation, for RS Joist, Rail poles Supply & Fabrication of bottom plate with 6mm thichness and for Box poles Supply & Fabrication of Top & Bottom plate with 6mm thichness. - Box pole 9/10/11 Mtr | ELECTY | Labour | SWR11266 | 2643.83 | EA | 2643.83
40 | 1.31 | Mass concreting of supports erected with CC (1:4:8) using 40 mm, HB G metal including the cost of metal, sand, Cement and curing etc. - Including the cost of cement | ELECTY | Labour | SWR10356 | 6579 | M3 | 8618.49
41 | 0.58 | Plastering 2 Coats,20/16mm(1:6)(1:4) | ELECTY | Labour | SWR10862 | 1 | M2 | 0.58
42 | 1 | Painting of poles - Paint of coping with 2 coats of white cement incl cost of paints etc. | ELECTY | Labour | SWR11089 | 52.8 | EA | 52.8
43 | 3.5 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes, labour charges etc., complete. Supply of material cost for First coat of 1st Grade Aluminium Paint, brushes etc. | ELECTY | Supply | SMR40009 | 2181 | TO | 7633.5
44 | 3.5 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes, labour charges etc., complete. Labour charges for painting including scratching and cleaning of Sub-station structures of 1st coat of Aluminium | ELECTY | Labour | SWR10877 | 851 | TO | 2978.5
45 | 3.5 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes, labour charges etc., complete. (*)Supply of material cost for Second coat of 1st Grade Aluminium Paint, brushes, etc. | ELECTY | Supply | SMR40010 | 1293 | TO | 4525.5
46 | 3.5 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes, labour charges etc., complete. (*) Labour charges for painting including scratching and cleaning of Sub-station structures of 2nd coat of Aluminium . | ELECTY | Labour | SWR10879 | 482 | TO | 1687
47 | 1 | Loading of 11 KV AB SWCH T.T.200/400 A | ELECTY | Labour | SWR12406 | 80 | EA | 80
48 | 1 | Un loading of 11 KV AB SWCH T.T.200/400 A | ELECTY | Labour | SWR12425 | 80 | EA | 80
49 | 1 | Erection of AB Switch and aligment complete - Erection of 11KV 200A TT type AB Switch including fixing of cross angles and alignment complete | ELECTY | Labour | SWR20102 | 1922.3 | EA | 1922.3
50 | 1 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes, labour charges etc., complete. (*) Note:-The requirement of 2nd coat is to be justified by the concerned Divisional Engineer /Executive Engineer before execution of this work . Painting of operating rods of 33kV, 11kV AB switches with post office red colour (including cost of paint) | ELECTY | Labour | SWR10881 | 142 | EA | 142
51 | 1 | Erection of AB Switch and aligment complete Making of coil earthing pole with 8mm GI wireNut&Bolts for AB Switch | ELECTY | Labour | SWR12331 | 146.63 | EA | 146.63
52 | 1 | Loading of 11 KV HG Fuse Sets | ELECTY | Labour | SWR10231 | 18 | EA | 18
53 | 1 | Un loading of 11 KV HG Fuse Sets | ELECTY | Labour | SWR10549 | 18 | EA | 18
54 | 1 | Erection of HG Fuse Sets Erection of 11 KV HG Fuse set including earthing | ELECTY | Labour | SWR10395 | 740.52 | SET | 740.52
55 | 1 | Erection of AB Switch and aligment complete Erection of LT distribution box including laying of LT cable from distribution box to LT OH line and DTR to distribution box including earthing of distribution box and crimping of lugs connecting of jumpers etc | ELECTY | Labour | SWR10674 | 1690.35 | EA | 1690.35
56 | 90 | Excavation & laying of UG Cable in Single Run Laying of XLPE UG cable including excavation of trench of size 450mm wide and depth of 850mm for LT, 1050mm for 11 KV and 1200mm for 33 KV from road level, providing of DWC/GI pipes whereever required depth is not acquired as per the instructions of Engineer in Charge, the prorata basis rates to be adopted for 2 feet, 3 feet depths and Providing of sand bedding 50mm before laying of cable , laying of cable and filling with sand 250mm above the cable and placing 40mm shabad protective slabs with TGSPDCL name painted , back filling the trench with earth, levelling and removing the debris from the site including the cost of lead and lift etc,. Along the CC / BT multi layer road requiring compressor - LT 3 1/2 x 185 Sqmm Cable | ELECTY | Labour | SWR11932 | 974.82 | M | 87733.8
57 | 10 | Raising of cable on already erected support with wooden / MS clamps and connecting it to over head line with cable jumpers including cost of required wooden cleats, lugs and bolts and nuts through GI pipe (excluding the cost of GI pipe) - LT 3 1/2 x 185 Sqmm Cable | ELECTY | Labour | SWR11959 | 85.43 | M | 854.3
58 | 2 | Making of Outdoor/Indoor End Termination Supply & fixing of Oout Door/Indoor end termination LT 3 1/2 x 185 Sqmm Cable | ELECTY | Labour | SWR10765 | 968.9 | EA | 1937.8
59 | 3500 | Control Cable Laying of 4 core/10 core 2.5 sq. mm.Copper control cable in already excavation trench including cost of providing single compress glands at both ends . | ELECTY | Labour | SWR11879 | 27 | M | 94500
60 | 600 | Cable terminations to the switch gear marshalling boxes/panel terminal locks/control and relay panels LT AC panel including providing suitable ferrules and lugs as per specification (including cost of ferrules, lugs and glands) | ELECTY | Labour | SWR12510 | 27 | EA | 16200
61 | 18 | Supply of earthing pipe with materials Supply of GI Flat 25X3 mm | ELECTY | Supply | SMR11485 | 105 | KG | 1890
62 | 30 | Running of GI eartn flat of size 25X3mm from all metallic parts of channels, AB Switch, HG fuse set, DTr neutral and LT Distribution box and inter connection of earth pits etc complete | ELECTY | Labour | SWR12125 | 14.03 | M | 420.9
63 | 1 | Loading of 11KV/33KV XLPE UG Cable for all sizes | ELECTY | Labour | SWR11230 | 1024 | DR | 1024
64 | 1 | Transport of conductor drums, cable drums, fragile material such as kiosks, VCBs, control panels, Battery Chargers with Batteries, RMU, current transformers, boosters, lightning arrestors, insulators, transformers, meters (which are less in weight and occupy more space) (excluding of loading unloading) Note: 1). It will be treated as full load of 10 MT and paid for 10 MT. 2). For 3 Ton vehicle : 50% of the following rates Above 30 Km and upto 50 Km with Lorry for each trip | ELECTY | Labour | SWR11863 | 4372.74 | EA | 4372.74
65 | 1 | Loading of 11KV/33KV XLPE UG Cable for all sizes | ELECTY | Labour | SWR11231 | 1024 | DR | 1024
66 | 3 | Supply of earthing pipe with materials Supply of CI earth pipe 100 mm dia, 2.75 mt long thickness 10mm with flange as per specication | ELECTY | Supply | SMR11482 | 3486 | EA | 10458
67 | 3 | Providing of Earthing - Providing of earthing with excavation of earth pit (0.6 x0.6x2.4 Mts.) duly filling with bentonite, earth , running of earth wire etc., complete, including cost of bentonite and excluding cost of RCC collar of size 0.75M dia x 0.5 M height | ELECTY | Labour | SWR10357 | 1234.2 | EA | 3702.6
68 | 3 | Providing of RCC collar to earth pit. - Providing of RCC Collar guarding to the existing earth pits with damaged masonry including dismantling and removing of existing masonry and fixing the RCC collar of 0.60 M dia X 0.50 M height | ELECTY | Labour | SWR10359 | 386 | EA | 1158
69 | 8 | Yard lightning Supply of stepped tubular poles single way made of steel of length 9mtrs with tensile strength of 42kgf/mm2 at a steps of 4.5 mtrs with outer dia 114.3 mm,2.1 mtrs with outer dia 88.9 mm, 2.1 mtrs with outer dia 76.1 mm, normal Crippling load of 141 kgf, normal Breaking load of 198 kgf ,working Crippling load of 70 kgf, working Breaking load of 79 kgf as per IS 2713. | ELECTY | Supply | SMR40051 | 13913 | EA | 111304
70 | 8 | Excavation of pits in hard rock not requiring blasting. (In hard murram / rock boulders) 9.1 Mtrs PSCC Poles 0.76 M x 0.76M x 1.83M (2.6" x 2.6" x 6.0") | ELECTY | Labour | SWR11039 | 928 | EA | 7424
71 | 8 | Supply of LED fixture set of (LUMINAIRE MAKE: PHILIPS /OSRAM/GE/VENTURE / CROMPTON/BAJAJ/VIN/WIPRO/JAGUAR/ KESELEC/HAVELLS/HPL/SURYA/SYSKA. LED MAKE: PHILIPS LUMILEDS/CREE/NICHIA /OSRAM / SUMSANG/LG LEDs) make with minimum 120 Lm/W Lumens Output, 105 V to 295 V Voltage range, more than 0.94 Power factor, Pressure Die cast Alluminium housing, Powder coated/ anodized finishing, toughed glass lamp cover, IP65 ingress protection, less than 25% THD, minimum 70% electronic efficiency, minimum 140 degrees along the road & 80 degrees across the road beam angle, 4500 to 6500K Color temperature, very low mercury 6.4mg max, Life more than 50,000 burning hours, maximum 20% depreciation during life, Fully cut off control of distribution, Electronic Ballast driver type, minimum 10KV Surge withstand capacity, Poly carbonate reflector/ Poly Carbonate Lens secondary optics, suitable for fixing to existing poles in the Substations, with five years warranty Erection of tubular poles | ELECTY | Labour | SWR10955 | 1379 | EA | 11032
72 | 6.1 | Mass concreting of supports erected with CC (1:4:8) using 40 mm, HB G metal including the cost of metal, sand, Cement and curing etc. - Including the cost of cement | ELECTY | Labour | SWR10356 | 6579 | M3 | 40131.9
73 | 4.62 | Plastering 2 Coats,20/16mm(1:6)(1:4) | ELECTY | Labour | SWR10862 | 1 | M2 | 4.62
74 | 8 | Painting of poles - Paint of coping with 2 coats of white cement incl cost of paints etc. | ELECTY | Labour | SWR11089 | 52.8 | EA | 422.4
75 | 8 | Supply of Metal Handle Lamp 150W | ELECTY | Supply | SMR24635 | 6450 | EA | 51600
76 | 50 | Supply of earthing pipe with materials - Supply of GI Bolts & Nuts etc | ELECTY | Supply | SMR11488 | 117.5 | KG | 5875
77 | 8 | Supply of LED fixture set of (LUMINAIRE MAKE: PHILIPS /OSRAM/GE/VENTURE / CROMPTON/BAJAJ/VIN/WIPRO/JAGUAR/ KESELEC/HAVELLS/HPL/SURYA/SYSKA. LED MAKE: PHILIPS LUMILEDS/CREE/NICHIA /OSRAM / SUMSANG/LG LEDs) make with minimum 120 Lm/W Lumens Output, 105 V to 295 V Voltage range, more than 0.94 Power factor, Pressure Die cast Alluminium housing, Powder coated/ anodized finishing, toughed glass lamp cover, IP65 ingress protection, less than 25% THD, minimum 70% electronic efficiency, minimum 140 degrees along the road & 80 degrees across the road beam angle, 4500 to 6500K Color temperature, very low mercury 6.4mg max, Life more than 50,000 burning hours, maximum 20% depreciation during life, Fully cut off control of distribution, Electronic Ballast driver type, minimum 10KV Surge withstand capacity, Poly carbonate reflector/ Poly Carbonate Lens secondary optics, suitable for fixing to existing poles in the Substations, with five years warranty Fixing of Metal halide lamps with fixtures Make:Philips,Crompton, Bajaj junction box with MCB with 1.5 GI pipe complete. | ELECTY | Labour | SWR10956 | 1268 | EA | 10144
78 | 1 | T & P - Steel almarah(61/2 X 3ft) Godrej | ELECTY | Supply | SMR40061 | 9818 | EA | 9818
79 | 1500 | Supplying & fabrication erection of 6mm Checkerd plates as per the field conditions | ELECTY | Labour | SWR10873 | 83 | KG | 124500
80 | 12 | Rubber mats ( 6’x3’) size for indoor SS | ELECTY | Supply | SMR40068 | 1386 | EA | 16632
81 | 1 | Sup Alluminium Ladder for indoor works | ELECTY | Supply | SMR40062 | 4410 | EA | 4410
82 | 2 | Trolley mounted CO2 (6.5Kgs) | ELECTY | Supply | SMR40087 | 9240 | EA | 18480
83 | 2 | Fire bucket stand with 3 buckets (8 -10 ltr capacity) | ELECTY | Supply | SMR40088 | 1386 | SET | 2772
84 | 6 | Room fire extinguisher (2 ltrs capacity) for control room | ELECTY | Supply | SMR40089 | 4620 | EA | 27720
85 | 4 | Safety Helmets of standard make | ELECTY | Supply | SMR40071 | 231 | EA | 924
86 | 4 | Earth Rods (8ft) Screw & clamp type | ELECTY | Supply | SMR40066 | 578 | EA | 2312
87 | 4 | Hand Gloves | ELECTY | Supply | SMR40067 | 289 | SET | 1156
88 | 1 | Standard basic cell phone with charger | ELECTY | Supply | SMR40069 | 1386 | EA | 1386
89 | 1 | T & P - Table (3x6ft) Godrej | ELECTY | Supply | SMR40057 | 6050 | EA | 6050
90 | 4 | T & P - S type chairs (Godrej) | ELECTY | Supply | SMR40058 | 924 | EA | 3696
91 | 1 | T & P - Angle racks(18x36.6inches) Godrej | ELECTY | Supply | SMR40060 | 1733 | EA | 1733
92 | 10 | Danger boards with clamps | ELECTY | Supply | SMR40070 | 116 | EA | 1160
93 | 1 | Name board of the 33/11kV Sub-Station(As per Standard Specification) | ELECTY | Supply | SMR40086 | 10238 | EA | 10238
94 | 1 | T & P - Wall clock standard make | ELECTY | Supply | SMR40059 | 578 | EA | 578
95 | 1 | T & P - Supply of Taparia Tool kit of Size 20”x10”x15” with tier arrangements Tool box with locking arrangement & key containing (1) Double Ended fix Spanner sets, (Ribbed) 6 x 7, 8 x 9, 10 x 11, 12 x 13, 14 x 15, 16 x 17, 18 x19, 20 x 22, 21 x 23, 24 x 27, 25 x28, 30 x 32, (2) Double Ended Ring Spanners sets, 6 x 7 , 8 x 9, 10 x 11, 12 x 13, 14 x 15. 16 x 17 , 18 x 19, 20 x 22 , 21 x 23, 24 x 27, 25 x28, 30 x 32 mm, (3) Adjustable Spanner 305 mm length least maximum opening 35mm chrome, (4) Pipe Wrench Length 350 mm 14”, (5) Soft faced Hammer with suitable handle 2 lb, (6) Hacksaw frame with metal handle heavy duty for 12" hacksaw blade with High Speed blade, (7) Insulated Screw drivers Transparent Green Handle Set Length 6”, 8” & 12”, (8) Star Screw Driver Transparent Green Handle Length 6”, (9) Insulated Wire Cutter, (10) Insulated Cutting Plier Length 8” with cable stripper insulated with thick C. A. sleeve confirming to IS: 4378 - 1990, (11) Long Nose Plier insulated with thick C.A. sleeve generally confirming to IS:3552-1989, (12) Tester type screw driver (special with neon bulb) generally confirm to IS: 5579- 1985 Grade:II handle yellow/ green colour overall length 130 mm, (13) Insulated Crimping Plier of all Taparia make. | ELECTY | Supply | SMR40063 | 4925 | SET | 4925
96 | 1 | T & P - Rechargeable LED torch light of Standard make | ELECTY | Supply | SMR40064 | 1733 | EA | 1733
97 | 1 | T & P - Hack saw (12 inches) | ELECTY | Supply | SMR40065 | 289 | EA | 289
98 | 8 | LC Boards | ELECTY | Supply | SMR40072 | 116 | EA | 928
99 | 2 | Gum Boots (Pair) | ELECTY | Supply | SMR40073 | 693 | EA | 1386
100 | 1 | Digital clamp meter. | ELECTY | Supply | SMR40076 | 2888 | EA | 2888
101 | 1 | 5000v megger | ELECTY | Supply | SMR40074 | 13860 | EA | 13860
102 | 1 | Supply and fixing of Substation board of size 3'x2.5' indicating the layout of switchyard | ELECTY | Labour | SWR20032 | 1654 | EA | 1654
103 | 1 | Supply and fixing of safety instructions/Substation operation instruction board | ELECTY | Labour | SWR22090 | 2205 | EA | 2205
104 | 1 | Supply of 10ft Aluminium Ladder | ELECTY | Supply | SMR12378 | 1654 | EA | 1654
105 | 3000 | Laying of each additional 33KV UG Cable in Existing Duct | ELECTY | Labour | SWR12452 | 200 | M | 600000
106 | 600 | Excavation & laying of UG Cable in Single Run - Raising of cable on already erected support with wooden / MS clamps and connecting it to over head line with cable jumpers including cost of required wooden cleats, lugs and bolts and nuts through GI pipe (excluding the cost of GI pipe) - 33kV 1x400 Sqmm Cu/ 1x630sqmm Aluminium cable | ELECTY | Labour | SWR11962 | 121.13 | M | 72678
107 | 12 | Supply of 33KV 1Cx400Sqmm PlugTerminationKit | ELECTY | Supply | SMR24773 | 90915 | EA | 1090980
108 | 12 | Inst-33KV 1Cx400Sqmm PlugTerminationKit | ELECTY | Labour | SWR24773 | 15675 | EA | 188100
109 | 32 | Supply of 33KV 1Cx400Sqmm O/d Cb End Kit | ELECTY | Supply | SMR24774 | 6792.5 | EA | 217360
110 | 32 | Inst-33KV 1Cx400Sqmm O/d Cb End Kit | ELECTY | Labour | SWR24774 | 3030.5 | EA | 96976
111 | 12 | Providing of Single Core straight though Joint | ELECTY | Labour | SWR12264 | 3403 | EA | 40836
112 | 8 | Loading of 11KV/33KV XLPE UG Cable for all sizes | ELECTY | Labour | SWR11230 | 1024 | DR | 8192
113 | 8 | Loading of 11KV/33KV XLPE UG Cable for all sizes | ELECTY | Labour | SWR11231 | 1024 | DR | 8192
114 | 4 | Transport of conductor drums, cable drums, fragile material such as kiosks, VCBs, control panels, Battery Chargers with Batteries, RMU, current transformers, boosters, lightning arrestors, insulators, transformers, meters (which are less in weight and occupy more space) (excluding of loading unloading) Note: 1). It will be treated as full load of 10 MT and paid for 10 MT. 2). For 3 Ton vehicle : 50% of the following rates Above 30 Km and upto 50 Km with Lorry for each trip | ELECTY | Labour | SWR11863 | 4372.74 | EA | 17490.96
115 | 1 | Submission of auto CAD Drawing as per pole schedule (Detailed survey and sketch) Up to 10 km | ELECTY | Labour | SWR12104 | 6000 | LS | 6000
116 | 7.5 | Transport of iron materials such as R.S. Joists, Rail Poles, fabricated supports, steel, iron, flat, M.S. Channels etc., by lorries. (excluding of loading & unloading ) Above 30 KM and upto 50 KM | ELECTY | Labour | SWR10134 | 587.52 | TO | 4406.4
117 | 7.5 | Loading of M.S.Channels, Angles, Flats & Rods etc., | ELECTY | Labour | SWR10206 | 221 | TO | 1657.5
118 | 7.5 | Un loading of M.S.Channels, Angles, Flats & Rods etc., | ELECTY | Labour | SWR10524 | 185 | TO | 1387.5
119 | 7 | Fabrication & erection of Channels - Fabrication of Main and Auxiliary structures with welding using raw steel such as RS joist, M.S.Angles, Plates, Channels, including the supply and fabrication of 6mm base plate to the RS-Joist poles excluding cost of Mild Steel and transport charges to substation site, including erection. | ELECTY | Labour | SWR10869 | 3426 | TO | 23982
120 | 7 | Fabrication & erection of Channels - Alligning the Main and Auxiliary structures such as RS joist, M.S.Angles, Plates, Channels, Structure to zero level duly leveling in prefabricated MS frames with Hydraulic jacks before galvanising/ fabrication. | ELECTY | Labour | SWR10867 | 1470 | TO | 10290
121 | 7 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes, labour charges etc., complete. Supply of material cost for First coat of 1st Grade Aluminium Paint, brushes etc. | ELECTY | Supply | SMR40009 | 2181 | TO | 15267
122 | 7 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes, labour charges etc., complete. Labour charges for painting including scratching and cleaning of Sub-station structures of 1st coat of Aluminium | ELECTY | Labour | SWR10877 | 851 | TO | 5957
123 | 7 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes, labour charges etc., complete. (*)Supply of material cost for Second coat of 1st Grade Aluminium Paint, brushes, etc. | ELECTY | Supply | SMR40010 | 1293 | TO | 9051
124 | 7 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes, labour charges etc., complete. (*) Labour charges for painting including scratching and cleaning of Sub-station structures of 2nd coat of Aluminium . | ELECTY | Labour | SWR10879 | 482 | TO | 3374
125 | 208.3 | Fabrication and connecting to risers from earth mat to structures, equipment, marshalling boxes, electrical panels, PLCC panels, fencing posts etc. - M.S./ G.I. Flat 50x6mm / 50 x 8 mm ( Above ground) | ELECTY | Labour | SWR10919 | 41 | RMT | 8540.3
126 | 160 | Clearing of site by hiring JCB, complete for the finished item of work | Civil | Labour | SWR34179 | 2226.5 | HR | 356240
127 | 272.16 | Earth work excavation in hard rock boulders more than 3 cum size by using chijlling,benching,wedging and boring in rock complete for item of work | Civil | Labour | SWR33018 | 1504.42 | M3 | 409442.9472
128 | 1508.35 | Earth work excavation in all type of soils red earth, Hard gravelly soils, earth mixed with sand and sandy soils etc., in all conditions such as slushy and dry with initial leads and lifts for foundations. | Civil | Labour | SWR33015 | 539.54 | M3 | 813815.159
129 | 1224.72 | Carting away the debris available at site including loading, unloading etc., upto 10 kms etc., complete | Civil | Labour | SWR34151 | 295 | M3 | 361292.4
130 | 144.48 | Cement concrete (1:4:8) using 40mm HBG metal for foundations and leveling course, including cost and conveyance of all materials, labour all leads and lifts, consolidation and all operations, formwork as required, curing, etc. complete for finished item w | Civil | Labour | SWR33028 | 5960 | M3 | 861100.8
131 |  | RCC 1:1.5:3 nominal mix using 12 to 20 mm HBG metal for following item of works including cost and conveyance of all materials labour scaffolding, centering, machine mixing, vibrating, curing all leads and lifts, in all positions of the building but excludi | Civil | Labour
132 | 195.65 | Reinforced Cement concerete M20 GRADE Nominal Mix Footings | Civil | Labour | SWR33098 | 10978 | M3 | 2147845.7
133 | 352.67 | Reinforced Cement concerete M20 GRADE Nominal Mix Columns Ground floor | Civil | Labour | SWR33100 | 14969 | M3 | 5279117.23
134 | 23.71 | Reinforced Cement concerete M20 GRADE Nominal Mix Plinth Beams | Civil | Labour | SWR33099 | 14073 | M3 | 333670.83
135 | 27.73 | Reinforced Cement concerete M20 GRADE Nominal Mix Beams for Ground Floor | Civil | Labour | SWR33121 | 14033 | M3 | 389135.09
136 | 1.76 | Reinforced Cement concerete M20 GRADE Nominal Mix Lintels | Civil | Labour | SWR33107 | 14810 | M3 | 26065.6
137 | 20.16 | Reinforced Cement concerete M20 GRADE Nominal Mix Sunshade | Civil | Labour | SWR33114 | 1536 | M2 | 30965.76
138 | 211.91 | Reinforced Cement concerete M20 GRADE Nominal Mix Roof slab of 130mm thick | Civil | Labour | SWR33128 | 13451 | M3 | 2850401.41
139 | 104.07 | Supplying, Cutting, bending, binding, placing in position and tying reinforcement steel in all heights including cost and conveyance of steel and binding wire etc,. With all leads and lifts, labour charges, etc., complete for finished item of work. | Civil | Labour | SWR33144 | 74936 | M | 7798589.52
140 | 221.89 | Coursed Rubble stone masonry 2nd sort with hard granite stones in cement mortar (1:6) for basement, including cost and conveyance of all materials, labour charges, curing, all leads and lifts, etc, complete for finished item of work. | Civil | Labour | SWR33041 | 6105 | M3 | 1354638.45
141 | 195.89 | Raised pointing to the exposed surfaces of CRS masonry in cm 1:3 prop. including cost and conveyance of all materials, labour charges, all leads and lifts curing etc, complete for finished item of work. | Civil | Labour | SWR33184 | 137 | M2 | 26836.93
142 | 98.1 | Brick masonry in cement mortar (1:6) for superstructure using well burnt country made second class bricks of approved quality including cost and conveyance of all materials curing, scaffolding with all leads and lifts in all heights etc., complete for fin | Civil | Labour | SWR33068 | 8941 | M3 | 877112.1
143 | 935.39 | Supplying and filling the substation site with borrowed gravel, watering, ramming, thoroughly complying with the standard specification. | Civil | Labour | SWR33052 | 651 | M3 | 608938.89
144 | 2877.03 | Plastering with two coats, 1st coat in cm1:5 16mm thick and 2nd coat in cm 1:4 4mm thick, total 20mm thick for superstructure walls, ceiling, sunshades, Beams, etc., with sponge finishing including cost and conveyance of all materials all leads & lifts e | Civil | Labour | SWR33163 | 613 | M2 | 1763619.39
145 | 75.32 | Providing Design R.C. drop wall of 25mm thickness with cm 1:3 and 6mm dia MS bars at 150mm both ways and chicken mesh in two coats 20mm thick each plastering including cost and conveyance of all materials with leads and lifts, scaffolding and curing, labo | Civil | Labour | SWR33203 | 3554 | M2 | 267687.28
146 | 32.4 | Supplying and fixing Aluminium sliding windows with grill and fixed glass panels using anodised aluminium extruded sections of mat finish for frames and mullions made from approved aluminium sections 62x32x1.2mm at 0.73kg/Rm providing 5mm plain glass fix | Civil | Labour | SWR33277 | 3798.77 | M2 | 123080.148
147 | 43.35 | Supply and fixing of Ms ornamental safety grill of approved design including cost and conveyance of all materials, labour charges etc., complete for finished item of work. | Civil | Labour | SWR33310 | 2790 | M2 | 120946.5
148 | 5.93 | Flush type Doors with 35mm Thick Flush Shutters with Bondwood solied Block Board Type Faced on Both the sides with Commercial Type Plywood (Schedule Item No. 301.) complete for finished item of work. | Civil | Labour | SWR33269 | 4800 | M2 | 28464
149 | 5.88 | Supply and laying of Ceramic floor over of CM 1:3 20 mm thick including required materials and labour charges etc complete for item of work | Civil | Labour | SWR33224 | 961 | M2 | 5650.68
150 | 242 | Flooring with double machine polished and hand cut Tandur blue stone 20mm thick of approved colour, quality and of minimum of 300x300mm size over a bed of cement mortar 1:3 20mm thick including cost of all materials, with all leads and lifts jointing and | Civil | Labour | SWR33219 | 688 | M2 | 166496
151 | 33.88 | Supply and fixing of coloured back ground glazed tiles of approved design and make of minimum size of 8''x8'' including cost and conveyance of all materials labour charges etc., complete for finished item of work. | Civil | Labour | SWR33224 | 961 | M2 | 32558.68
152 | 19.8 | Supply and fixing of 4" high skirting of shabad stone to the walls including cost and conveyance of all materials, labour etc for finished item of work. | Civil | Labour | SWR33236 | 783 | M2 | 15503.4
153 | 802.44 | Inside painting with two coats of OBD over a primary coat total three coats of approved colour and quality including cost and conveyance of all materials labour charges etc., complete for finished item of work. | Civil | Labour | SWR33333 | 161.36 | M2 | 129481.7184
154 | 1147.56 | Outside painting with two coats of ACE paint over a primary coat total three coats of approved colour and quality including cost and conveyance of all materials, labour charges etc., complete for finished item of work. | Civil | Labour | SWR33356 | 232.28 | M2 | 266555.2368
155 | 18.8 | Supplying and fixing Alluminium glazed door cum fixed window or door using anodised alluminium extruded sections and mat finish for frames sites and Handle/knib,locking arrangements and 4.0mm plain glass fixed to the frame with beeding and qasket with all | Civil | Labour | SWR33272 | 6413.82 | M2 | 120579.816
156 | 7.76 | Cement concrete (1:2:4) using 20mm size well graded HBG metal for foundations, including cost, conveyance of all materials,labour all leads and lifts,consolidation and all operations, formwork as required, curing,etc. complete for finished item of work | Civil | Labour | SWR33030 | 7443 | M2 | 57757.68
157 | 23175.82 | Supply and fabrication of Angles, Channels, Beams including labour charges complete for the finished item of work. | Civil | Labour | SWR33145 | 120 | Kg | 2781098.4
158 | 146 | Supply & fixing of 25mm dia 1.5mm thick surface P.V.C. pipe (ISI MARK) Concealed in RCC Slab with all required accessories including masonary work and labour charges etc.complete. | Civil | Labour | SWR33441 | 120 | RMT | 17520
159 | 1 | Supply and fixing of 4way TPN distribution board concealed in wall . | Civil | Labour | SWR33526 | 12751 | EA | 12751
160 | 7 | Supply and fixing of 6A 3/2 pin flush type plug socket with 6A flush type marked switch control on a common board with earth continuity etc. | Civil | Labour | SWR33461 | 594 | EA | 4158
161 | 5 | Supply and fixing of 16A 3pin flush type plug socket and | Civil | Labour | SWR33463 | 431 | EA | 2155
162 | 58 | Wiring with 2x1.00 Sq.mm (14/0.3mm) PVC insulated flexible copper cable in the existing metallic /non metallic conduit pipe with 6A flush type marked switch, ceiling rose and 3mm thick hylum sheet covering to switch control box including all labour charge | Civil | Labour | SWR33598 | 877 | EA | 50866
163 | 24 | Supply & fixing of 1X40W patty type tube light luminaire with copper choke,starter etc.,incuding 1No 40W tube etc., complete | Civil | Labour | SWR33543 | 768 | EA | 18432
164 | 2 | Supply of 12" (300mm) ISI, 900 RPM Heavy duty exhaust fan with metallic blades with Mark of makes Crompton / Almounard / Havells Turbo Force. | Civil | Labour | SWR33573 | 3941 | EA | 7882
165 | 480 | Supply and run of 2 of 22/0.3mm (1.5 sq.mm) (FR) P.V.C. insulated flexible copper cable in existing pipe for mains including all labour charges complete. | Civil | Labour | SWR33496 | 83 | RMT | 39840
166 | 280 | Supply and run of 2 of 36/0.3mm (2.5 sq.mm) FR P.V.C. insulated flexible copper cable in existing pipe for mains including all labour charges complete. | Civil | Labour | SWR33497 | 114 | RMT | 31920
167 | 8 | Supply & fixing of batten holder /slanting holder in lieu of ceiling rose of light point complete with all connection and all labour charges with 40W bulb (for new installation) | Civil | Labour | SWR33484 | 151 | EA | 1208
168 | 8 | Supply & fixing of 1200mm (48'') sweep 230v,A.C 50 Hz.Ceiling fan with 3 Blades and double ball bearings with all standared accessories. | Civil | Labour | SWR33563 | 2305 | EA | 18440
169 | 1 | Providing independent EARTHING by excavating a trench to a depth of 2.1M in all solid,as per size specified in the Data,using 40mm dia 'B' class GI pipe of 2.5 Mtrs length with necessary accessories with hume pipe ring duly providing staggered holes including filling with equal proportion of salt and Charcoal in layers and all labour charges etc., compiete for small quarters. | Civil | Labour | SWR33596 | 5614 | EA | 5614
170 | 20 | Supplying, laying, jointing and testing 101.6 mm SWG SP-1 pipes of ISI make conforming to ISI 651 & 4127 with airtight cement joints in CM 1.5:1 prop. Including excavation of trenches and socket pits in any soil (except rock requiring blasting) up to 1524 mm(5'0") depth and refilling with watering and tamping. | Civil | Labour | SWR34282 | 692 | Rmt | 13840
171 | 5 | Constructing 904.0 mm (3’0”) dia brick masonry inspection chamber as per IS - 4111: Part-1:1986 with cement mortar (1:6) prop using 2nd Class Clay Bricks of 225 mm thick from approved source having a minimum crushing strength of 5 N/sq.mm including plastering with cement mortar 1:3 prop; ½” thick both inside and outside fitted with 20” dia RCC manhole covers and frames including excavating pits up to a depth of 904 mm (3'-0") in all sorts of soils (excluding rock) and laying cement concrete (1:4:8) 150 mm thick using 40 mm HBG Metal and P.C.C. 1:2:4 benching and channel 100 mm thick as per Standard specification and including cost and conveyance of all materials like cement, sand, bricks, water etc., to site, cost of seigniorage charges on all materials and all incidental and operational, labour charges like mixing cement mortar, constructing masonry, lift charges, curing etc., complete for finished item of work as per Standard specification. | Civil | Labour | SWR34296 | 9155 | EA | 45775
172 | 2 | Supply & fixing of 110 mm dia - Door Bend 87.5 Degree - UPVC/SWR Pipe fittings (Prince/Sudhakar or any ISI Brand) | Civil | Labour | SWR34381 | 132 | EA | 264
173 | 2 | Supply & fixing of 110 mm dia - Plain Bend 87.5 Degree - UPVC/SWR Pipe fittings (Prince/Sudhakar or any ISI Brand) | Civil | Labour | SWR34380 | 104 | EA | 208
174 | 1 | Making drainage connection in the existing inspection chamber including all repairs. | Civil | Labour | SWR34438 | 259 | EA | 259
175 | 6 | Supply & fixing of 110 mm dia 3 M Single Socket PVC/SWR pipe - 6 Kg/sq.cm - Prince/Sudhakar or any ISI Brand | Civil | Labour | SWR34377 | 488 | Rmt | 2928
176 | 6 | Supply & fixing of 90 mm dia 3 M Single Socket PVC/SWR pipe - 6 Kg/sq.cm - Prince/Sudhakar or any ISI Brand | Civil | Labour | SWR34378 | 435.33 | Rmt | 2611.98
177 | 2 | Supply & fixing 75 mm dia - Coupler - UPVC/SWR Pipe fittings (Prince/Sudhakar or any ISI Brand) | Civil | Labour | SWR34379 | 329 | EA | 658
178 | 2 | Supply & fixing 100 mm dia Cowl - CI (Spun) fittings | Civil | Labour | SWR34453 | 24 | EA | 48
179 | 2 | Supplying & fixing 150 mm x 100 mm SWG gully traps conforming to ISI 651 & 4127 with C.I Grating & Cost. Brick masonry in CM 1:6 prop. Intermediate chamber and fitted with 304.8 mm x 288.6mm (12"x9") C.I Frame and hinged cover | Civil | Labour | SWR34286 | 792.4 | EA | 1584.8
180 | 1 | Supplying and Fixing European Water Closet of 1st quality conforming to IS:2556-Part-2-1973 of Hindustan / Neycer or Parryware make white glazed with 'S' trap | Civil | Labour | SWR34314 | 2330 | EA | 2330
181 | 1 | Supplying and Fixing best Indian make plastic seat and lid for European water closets with rubber or plastic Buffers as per IS 2548-1996 | Civil | Labour | SWR34315 | 1374 | EA | 1374
182 | 2 | Supply & fixing 12.7 mm NP stop cock Indian make 400 grams Seiko/ Senior/ Nice/ Senior/ Nice or equivalent | Civil | Labour | SWR34328 | 754 | EA | 1508
183 | 5 | S&F 12.7 mm N.P bib tap Indian make 400 grams Seiko/ Senior/ Nice or equivalent | Civil | Labour | SWR34329 | 314 | EA | 1570
184 | 1 | Supplying & Fixing Indian make Flat Back Wash Hand Basin (HSW/Parryware/ Neycer) 1st quality conforming to IS:2556-Part-4:1972 with waste fittings like rubber plug, chain, 32 mm nominal size C.P. Fitting with parallel pipe thread conforming to IS:2963-1979 and fitted with 15 mm nominal bore Chromium Plated Pillar Tap of 1st quality Indian make 400 grams Seiko/ Senior/ Nice/ Esso or equivalent complete with standard CI brackets including wooden block: 550 x 400 mm - Single C.P. Pillar cock | Civil | Labour | SWR34316 | 1824 | EA | 1824
185 | 3 | Supply & fixing 38.1 mm C.P waste coupling Half or Full Thread 1st Quality Indian make Parryware or equivalent | Civil | Labour | SWR34428 | 280 | EA | 840
186 | 3 | Supply & fixing of 4" (101.6 mm ) Nahany Trap ( Without Jali with inlet)UPVC/SWR Pipe fittings (Prince/Sudhakar or any ISI Brand) | Civil | Labour | SWR34387 | 139 | EA | 417
187 | 1 | Supplying & Fixing low down flushing tank 10 Lit Capacity Hindustan Sanitary ware/ parry/ Neycer with internal components | Civil | Labour | SWR34376 | 2118 | EA | 2118
188 | 1000 | Providing & Placing on Terrace (at all floor levels) polyethylene water storage tank with Double layer approved brand & manufacture with cover and suitable locking arrangement & making necessary holes for inlet & outlets and over flow pipes but with NECESSARY fittings & base support for tanks | Civil | Labour | SWR34375 | 11 | L | 11000
189 | 2 | Supply & fixing 31.75 mm dia PVC flexible waste pipe of 914.4 mm length of Ist quality | Civil | Labour | SWR34426 | 35 | EA | 70
190 | 5 | Supply and Fixing of Ashirvad/ Ajay/ Astral Flowguard or equivalent CPVC Pipes and Fittings to meet the requirement of ASTM-D 2846 and are produced in CTS (Copper Tube Sizes 1/2" ton 2" Ashirvad Flowgurard SDR 11 and SDR 13.5 pipes are made from idential CPVC compounds having the same physical Properties for Hot and Cold Water (IS 15778:2007)- 15.90mm OD Pipe - SDR 11 | Civil | Labour | SWR34361 | 239 | Rmt | 1195
191 | 60 | Supply and Fixing of Ashirvad/ Ajay/ Astral Flowguard or equivalent CPVC Pipes and Fittings to meet the requirement of ASTM-D 2846 and are produced in CTS (Copper Tube Sizes 1/2" ton 2" Ashirvad Flowgurard SDR 11 and SDR 13.5 pipes are made from idential CPVC compounds having the same physical Properties for Hot and Cold Water (IS 15778:2007)-22.20mm OD Pipe - SDR 11 | Civil | Labour | SWR34362 | 323 | Rmt | 19380
192 | 25 | Supply and Fixing of Ashirvad/ Ajay/ Astral Flowguard or equivalent CPVC Pipes and Fittings to meet the requirement of ASTM-D 2846 and are produced in CTS (Copper Tube Sizes 1/2" ton 2" Ashirvad Flowgurard SDR 11 and SDR 13.5 pipes are made from idential CPVC compounds having the same physical Properties for Hot and Cold Water (IS 15778:2007)-28.60mm OD Pipe - SDR 11 | Civil | Labour | SWR34363 | 423 | Rmt | 10575
193 | 1 | Supply & fixing Gunmetal (GM) Ball valve with SS Ball and SS Spindle as per IS - Class - I, Indian make heavy type - 25mm NB Size | Civil | Labour | SWR34346 | 481 | EA | 481
194 | 1 | Supply & fixing Gunmetal (GM) Ball valve with SS Ball and SS Spindle as per IS - Class - I, Indian make heavy type - 20mm NB Size | Civil | Labour | SWR34345 | 342 | EA | 342
195 | 1 | Supply & fixing 25.4 mm dia & 609.6 mm long aluminium anodized towel rod with brackets and aluminium screws | Civil | Labour | SWR34431 | 164 | EA | 164
196 | 1 | Supply & fixing NP soap dish heavy type with NP screws | Civil | Labour | SWR34429 | 657 | EA | 657
197 | 1 | Geophysical Investgation charges for water point by Geologist | Civil | Labour | SWR33608 | 5500 | EA | 5500
198 | 90 | Drill-165mm Bore Well 0 to 90 | Civil | Labour | SWR33609 | 520 | Rmt | 46800
199 | 30 | Drill-165mm Bore Well 90M to 120M | Civil | Labour | SWR34830 | 520 | Rmt | 15600
200 | 30 | Drill-165mm Bore Well 120M to 150M | Civil | Labour | SWR34831 | 520 | Rmt | 15600
201 | 30 | Drill-165mm Bore Well 150M to 180M | Civil | Labour | SWR34832 | 520 | Rmt | 15600
202 | 30 | Drill-165mm Bore Well 180M to 210M | Civil | Labour | SWR34833 | 650 | Rmt | 19500
203 | 30 | Drill-165mm Bore Well 210M to 240M | Civil | Labour | SWR34834 | 785 | Rmt | 23550
204 | 30 | Drill-165mm Bore Well 240M to 270M | Civil | Labour | SWR34835 | 955 | Rmt | 28650
205 | 120 | Drill-165mm Bore Well 270M and above | Civil | Labour | SWR34836 | 1130 | Rmt | 135600
206 | 25 | Supply and fixing of 160mm dia PVC casing of A class 6Kg point pressure including cost and conveyance of all materials labour charges etc complete for finished item of work as directed by the engineer-in-charge. | Civil | Labour | SWR33611 | 900 | Rmt | 22500
207 | 1 | Supply and erecting, ISI mark submersible 3.0 HP, Three Phase SubMrsbl Pumpset 5HP 12-16Stages suitable for 106/156mm dia borewell including cost and conveyance of all materials labour charges etc complete for finished item of work | Civil | Labour | SWR33637 | 46462 | EA | 46462
208 | 185 | Supply and fixing of HDPE pipe 40mm dia of 16Kg/cm2 including cost and conveyance of all materials labour charges etc complete for finished item of work as directed by the engineer-in-charge. | Civil | Labour | SWR34410 | 173 | Rmt | 32005
209 | 1 | Supply and erecting D.O.L Starter 250V , Single phase,50Hz with SS enclouserincluding cost and conveyance of all materials labour charges etc complete for finished item of work | Civil | Labour | SWR33644 | 2400 | EA | 2400
210 | 220 | Supply of 3 Core 2.5 Sqmm Flat Copper cable of ISI for Submersible Motors of makes Finolex / Polycab / Gold Medal / Million / Payal / Sun Light / Power Flex / Fortune Art | Civil | Labour | SWR33641 | 222 | Rmt | 48840
211 | 1 | Provd-DGPS & Total Staion Survey | Civil | Labour | SWR34506 | 5400 | EA | 5400
212 | 1 | Providing supply of electricity to the site premises through custamer service centre duly applying for new connection including service wire, application complete the work. | Civil | Labour | SWR33425 | 5950 | EA | 5950
213 | 1 | Providing consultancy services for arranging contour surveying with total station including preparation of boundary and contour levels with 2 No.s hard copies and soft copies complete for finished items of work. | Civil | Labour | SWR33427 | 6150 | Jobs | 6150
214 | 4800 | Provd 2Sets of Structural Drawings | Civil | Labour | SWR33426 | 5.5 | ft2 | 26400
215 | 1326.75 | Seigniorage Charges - Sand | Civil | Labour | SWR34470 | 40 | Cum | 53070
216 | 1092.56 | Seigniorage Charges - Metal | Civil | Labour | SWR34471 | 30 | Cum | 32776.8
217 | 935.39 | Seigniorage Charges - Gravel | Civil | Labour | SWR34472 | 75 | Cum | 70154.25
|  | Total (Excl. GST) Rs. | [5 empty] | 35673285.6154
18 % GST in Rs | [7 empty] | 6421191.4108
Total (Incl. GST) in Rs. | [7 empty] | 42094477.0262 | 841889.5405
105729294.12
105729294.12

## Switching Station 12.05.2026
SCHEDULE
Name of the Work: "Erection of 1 No. 33kV Switching station near 132/33kV Manikonda Sub-Station with 3 Nos. 33kV dedicated sources from 132/33kV Manikonda Sub-Station in Operation Division, Ibrahimbagh pertaining to Master Plan SD-2 of ECGH Division in Ranga Reddy Circle under T&D improvement works".
1. D.No :San No. 08/2026-27, D. No. 313/2026-27, Dt: 12.05.2026
2. WBS No. Supply 1970-13-03-02-01-001
Sl No | Estimate Quantity | Description of item | Work Type | Item Short Description | APSS / Month Cl.NumberSSR 11 & 12 | Rate (INR) | UOM | AMOUNT Rs
1 | 1 | Loading of 50,63, 75 & 100 KVA DTR | ELECTY | Labour | SWR10195 | 350 | EA | 350
2 | 1 | Transport of conductor drums, cable drums, fragile material such as kiosks, VCBs, control panels, Battery Chargers with Batteries, RMU, current transformers, boosters, lightning arrestors, insulators, transformers, meters (which are less in weight and occupy more space) (excluding of loading unloading) Note: 1). It will be treated as full load of 10 MT and paid for 10 MT. 2). For 3 Ton vehicle : 50% of the following rates Above 30 Km and upto 50 Km with Lorry for each trip | ELECTY | Labour | SWR11863 | 4372.74 | EA | 4372.74
3 | 1 | Un loading of 50,63, 75 & 100 KVA DTR | ELECTY | Labour | SWR10513 | 280 | EA | 280
4 | 1 | Construction of DTR Plinth RCC Column type DTR Plinth of size 1'X1'X10',topslab 4'x4'x6" & beam size 4'X8'X8" upto 160KVA | ELECTY | Labour | SWR21843 | 25967.57 | EA | 25967.57
5 | 1 | Erection of DTR's including loading and Unloading DTR on the Structure/Plinth etc Erection of 3 Phase DTRs 63,75 & 100 KVA | ELECTY | Labour | SWR20905 | 1815 | EA | 1815
6 | 23 | Loading of 33 KV VCBs along with Panel boards | ELECTY | Labour | SWR10198 | 1024 | EA | 23552
7 | 12 | Transport of conductor drums, cable drums, fragile material such as kiosks, VCBs, control panels, Battery Chargers with Batteries, RMU, current transformers, boosters, lightning arrestors, insulators, transformers, meters (which are less in weight and occupy more space) (excluding of loading unloading) Note: 1). It will be treated as full load of 10 MT and paid for 10 MT. 2). For 3 Ton vehicle : 50% of the following rates Above 30 Km and upto 50 Km with Lorry for each trip | ELECTY | Labour | SWR11863 | 4372.74 | EA | 52472.88
8 | 23 | Un loading of 33 KV VCBs along with Panel boards | ELECTY | Labour | SWR10516 | 1044.48 | EA | 24023.04
9 | 23 | INDOOR SS - Breaker - Erection of 33KV indoor switch gear panel/33KV indoor PT panel / Bus section panel / Bus raiser panel | ELECTY | Labour | SWR10930 | 9847 | EA | 226481
10 | 1 | Loading of 220 V Batterry with charger | ELECTY | Labour | SWR11166 | 1612 | SET | 1612
11 | 1 | Transport of conductor drums, cable drums, fragile material such as kiosks, VCBs, control panels, Battery Chargers with Batteries, RMU, current transformers, boosters, lightning arrestors, insulators, transformers, meters (which are less in weight and occupy more space) (excluding of loading unloading) Note: 1). It will be treated as full load of 10 MT and paid for 10 MT. 2). For 3 Ton vehicle : 50% of the following rates Above 30 Km and upto 50 Km with Lorry for each trip | ELECTY | Labour | SWR11863 | 4372.74 | EA | 4372.74
12 | 1 | Un loading of 220 V Batterry with charger | ELECTY | Labour | SWR11147 | 1024 | SET | 1024
13 | 1 | Batteries Erection of 220 V, 80 AH battery in complete shape fit for charging . Conventional lead acid | ELECTY | Labour | SWR12295 | 7666 | EA | 7666
14 | 1 | Control Panels Supply of AC Supply panel inluding providing of changeover switch, SFU, metering unit, 32 A three phase MCB, 16 A Single phase MCB complete as per specification. | ELECTY | Supply | SMR40045 | 42000 | EA | 42000
15 | 1 | Control Panels Erection of control/Relay panels, AC Panels, announciation panels etc in the control room duly mounting them on channels and grouting them with foundation bolts excluding cost of channels & foundation bolts | ELECTY | Labour | SWR11893 | 2122 | EA | 2122
16 | 50 | T & P - Painting of Name Plates for any equipment | ELECTY | Labour | SWR10963 | 122 | EA | 6100
17 | 20 | Providing of earthing with various types of earth electrodes. Supply of copper bonded steel rod of dia 5/8 inch with a length of 3meters, suitable for connecting 75X8 MS strip and supply of 33.9kgs ground enhancing meterial GEM-25A /Zerolyte of 0.2 ohm meter resistiviity as per IEE 142-1991 for 33/11kV Sub- Station | ELECTY | Supply | SMR40042 | 8820 | EA | 176400
18 | 20 | Providing of earthing with various types of earth electrodes. Installation of copper bonded steel rod of dia 5/8 inch with a length of 3meters refilling with ground enhancing meterial EM- 25A / Zerolyte of 0.2 ohm meter resistiviity IEE 142-1992 in Hard Rock with bore 10"dia & 20feet deep or trench of 4'W X 10'L X 5' depth back filled with black cotton soil | ELECTY | Labour | SWR10928 | 8004 | EA | 160080
19 | 531.9 | Laying of earth mat including excavation of trenches of depth 600mm, welding, connecting to equipment and connecting lightning shield to earth mat and earthing of fence posts, drilling and connecting earth rods including connecting cast iron pipes with the following sizes of MS Flats /GI Flats. including fabrication. - 75x 8mm MS Flat / GI Flat. | ELECTY | Labour | SWR10920 | 65 | RMT | 34573.5
20 | 416.6 | Fabrication and connecting to risers from earth mat to structures, equipment, marshalling boxes, electrical panels, PLCC panels, fencing posts etc. - M.S./ G.I. Flat 50x6mm / 50 x 8 mm ( Above ground) | ELECTY | Labour | SWR10919 | 41 | RMT | 17080.6
21 | 50 | Supply of earthing pipe with materials - Supply of GI Bolts & Nuts etc | ELECTY | Supply | SMR11488 | 117.5 | KG | 5875
22 | 500 | Supply and painting of Black to all earth Flat | ELECTY | Labour | SWR12217 | 55 | M | 27500
23 | 185 | Excavation & laying of UG Cable in Single Run Laying of XLPE UG cable including excavation of trench of size 450mm wide and depth of 850mm for LT, 1050mm for 11 KV and 1200mm for 33 KV from road level, providing of DWC/GI pipes whereever required depth is not acquired as per the instructions of Engineer in Charge, the prorata basis rates to be adopted for 2 feet, 3 feet depths and Providing of sand bedding 50mm before laying of cable , laying of cable and filling with sand 250mm above the cable and placing 40mm shabad protective slabs with TGSPDCL name painted , back filling the trench with earth, levelling and removing the debris from the site including the cost of lead and lift etc,. Along the CC / BT multi layer road requiring compressor - 11 KV 3x185 Sqmm Cable | ELECTY | Labour | SWR11929 | 1065.16 | M | 197054.6
24 | 15 | Raising of cable on already erected support with wooden / MS clamps and connecting it to over head line with cable jumpers including cost of required wooden cleats, lugs and bolts and nuts through GI pipe (excluding the cost of GI pipe) - 11 KV 3x185 Sqmm Cable | ELECTY | Labour | SWR11956 | 126.23 | M | 1893.45
25 | 2 | Making of Outdoor/Indoor End Termination Making 11 KV 3x185 Sqmm Cable Out Door/Indoor end termination | ELECTY | Labour | SWR10390 | 2370.63 | EA | 4741.26
26 | 10 | Loading of R.S. Joists 150 x 150mm / Rail poles | ELECTY | Labour | SWR10205 | 176 | EA | 1760
27 | 10 | Un loading of R.S. Joists 150 x 150mm / Rail poles | ELECTY | Labour | SWR10523 | 107 | EA | 1070
28 | 100 | Cutting charges for MS Sections - RS Joists 150 x 150 mm | ELECTY | Labour | SWR10297 | 48 | EA | 4800
29 | 10.25 | Transport of iron materials such as R.S. Joists, Rail Poles, fabricated supports, steel, iron, flat, M.S. Channels etc., by lorries. (excluding of loading & unloading ) Above 30 KM and upto 50 KM | ELECTY | Labour | SWR10134 | 587.52 | TO | 6022.08
30 | 6.5 | Loading of M.S.Channels, Angles, Flats & Rods etc., | ELECTY | Labour | SWR10206 | 221 | TO | 1436.5
31 | 6.5 | Un loading of M.S.Channels, Angles, Flats & Rods etc., | ELECTY | Labour | SWR10524 | 185 | TO | 1202.5
32 | 3 | Fabrication & erection of Channels - Fabrication of Main and Auxiliary structures with welding using raw steel such as RS joist, M.S.Angles, Plates, Channels, including the supply and fabrication of 6mm base plate to the RS-Joist poles excluding cost of Mild Steel and transport charges to substation site, including erection. | ELECTY | Labour | SWR10869 | 3426 | TO | 10278
33 | 3 | Fabrication & erection of Channels - Alligning the Main and Auxiliary structures such as RS joist, M.S.Angles, Plates, Channels, Structure to zero level duly leveling in prefabricated MS frames with Hydraulic jacks before galvanising/ fabrication. | ELECTY | Labour | SWR10867 | 1470 | TO | 4410
34 | 2 | Loading of R.S. Joists 175 x 85 mm | ELECTY | Labour | SWR10204 | 76 | EA | 152
35 | 2 | Un loading of R.S. Joists 175 x 85 mm | ELECTY | Labour | SWR10522 | 50 | EA | 100
36 | 0.5 | Transport of iron materials such as R.S. Joists, Rail Poles, fabricated supports, steel, iron, flat, M.S. Channels etc., by lorries. (excluding of loading & unloading ) Above 30 KM and upto 50 KM | ELECTY | Labour | SWR10134 | 587.52 | TO | 293.76
37 | 1 | Excavation of pits in hard rock requiring blasting. (other than SS) 11Mtrs PSCC Pole/ Box poles 0.75 M x 0.9 M x 1.95 M | ELECTY | Labour | SWR10113 | 1326 | EA | 1326
38 | 2 | Fabrication of poles: Fabrication of 175x85/150x75mm RS joist pieces upto 12.5 meters length by welding joint together by means of 50x6mm flat and MS channel on either side including the cost of consumable, Painting of RS Joist on inner phasing with red Oxide before Joining as box pole | ELECTY | Labour | SWR10642 | 512.55 | EA | 1025.1
39 | 1 | Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavation, for RS Joist, Rail poles Supply & Fabrication of bottom plate with 6mm thichness and for Box poles Supply & Fabrication of Top & Bottom plate with 6mm thichness. - Box pole 9/10/11 Mtr | ELECTY | Labour | SWR11266 | 2643.83 | EA | 2643.83
40 | 1.31 | Mass concreting of supports erected with CC (1:4:8) using 40 mm, HB G metal including the cost of metal, sand, Cement and curing etc. - Including the cost of cement | ELECTY | Labour | SWR10356 | 6579 | M3 | 8618.49
41 | 0.58 | Plastering 2 Coats,20/16mm(1:6)(1:4) | ELECTY | Labour | SWR10862 | 1 | M2 | 0.58
42 | 1 | Painting of poles - Paint of coping with 2 coats of white cement incl cost of paints etc. | ELECTY | Labour | SWR11089 | 52.8 | EA | 52.8
43 | 3.5 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes, labour charges etc., complete. Supply of material cost for First coat of 1st Grade Aluminium Paint, brushes etc. | ELECTY | Supply | SMR40009 | 2181 | TO | 7633.5
44 | 3.5 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes, labour charges etc., complete. Labour charges for painting including scratching and cleaning of Sub-station structures of 1st coat of Aluminium | ELECTY | Labour | SWR10877 | 851 | TO | 2978.5
45 | 3.5 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes, labour charges etc., complete. (*)Supply of material cost for Second coat of 1st Grade Aluminium Paint, brushes, etc. | ELECTY | Supply | SMR40010 | 1293 | TO | 4525.5
46 | 3.5 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes, labour charges etc., complete. (*) Labour charges for painting including scratching and cleaning of Sub-station structures of 2nd coat of Aluminium . | ELECTY | Labour | SWR10879 | 482 | TO | 1687
47 | 1 | Loading of 11 KV AB SWCH T.T.200/400 A | ELECTY | Labour | SWR12406 | 80 | EA | 80
48 | 1 | Un loading of 11 KV AB SWCH T.T.200/400 A | ELECTY | Labour | SWR12425 | 80 | EA | 80
49 | 1 | Erection of AB Switch and aligment complete - Erection of 11KV 200A TT type AB Switch including fixing of cross angles and alignment complete | ELECTY | Labour | SWR20102 | 1922.3 | EA | 1922.3
50 | 1 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes, labour charges etc., complete. (*) Note:-The requirement of 2nd coat is to be justified by the concerned Divisional Engineer /Executive Engineer before execution of this work . Painting of operating rods of 33kV, 11kV AB switches with post office red colour (including cost of paint) | ELECTY | Labour | SWR10881 | 142 | EA | 142
51 | 1 | Erection of AB Switch and aligment complete Making of coil earthing pole with 8mm GI wireNut&Bolts for AB Switch | ELECTY | Labour | SWR12331 | 146.63 | EA | 146.63
52 | 1 | Loading of 11 KV HG Fuse Sets | ELECTY | Labour | SWR10231 | 18 | EA | 18
53 | 1 | Un loading of 11 KV HG Fuse Sets | ELECTY | Labour | SWR10549 | 18 | EA | 18
54 | 1 | Erection of HG Fuse Sets Erection of 11 KV HG Fuse set including earthing | ELECTY | Labour | SWR10395 | 740.52 | SET | 740.52
55 | 1 | Erection of AB Switch and aligment complete Erection of LT distribution box including laying of LT cable from distribution box to LT OH line and DTR to distribution box including earthing of distribution box and crimping of lugs connecting of jumpers etc | ELECTY | Labour | SWR10674 | 1690.35 | EA | 1690.35
56 | 90 | Excavation & laying of UG Cable in Single Run Laying of XLPE UG cable including excavation of trench of size 450mm wide and depth of 850mm for LT, 1050mm for 11 KV and 1200mm for 33 KV from road level, providing of DWC/GI pipes whereever required depth is not acquired as per the instructions of Engineer in Charge, the prorata basis rates to be adopted for 2 feet, 3 feet depths and Providing of sand bedding 50mm before laying of cable , laying of cable and filling with sand 250mm above the cable and placing 40mm shabad protective slabs with TGSPDCL name painted , back filling the trench with earth, levelling and removing the debris from the site including the cost of lead and lift etc,. Along the CC / BT multi layer road requiring compressor - LT 3 1/2 x 185 Sqmm Cable | ELECTY | Labour | SWR11932 | 974.82 | M | 87733.8
57 | 10 | Raising of cable on already erected support with wooden / MS clamps and connecting it to over head line with cable jumpers including cost of required wooden cleats, lugs and bolts and nuts through GI pipe (excluding the cost of GI pipe) - LT 3 1/2 x 185 Sqmm Cable | ELECTY | Labour | SWR11959 | 85.43 | M | 854.3
58 | 2 | Making of Outdoor/Indoor End Termination Supply & fixing of Oout Door/Indoor end termination LT 3 1/2 x 185 Sqmm Cable | ELECTY | Labour | SWR10765 | 968.9 | EA | 1937.8
59 | 3500 | Control Cable Laying of 4 core/10 core 2.5 sq. mm.Copper control cable in already excavation trench including cost of providing single compress glands at both ends . | ELECTY | Labour | SWR11879 | 27 | M | 94500
60 | 600 | Cable terminations to the switch gear marshalling boxes/panel terminal locks/control and relay panels LT AC panel including providing suitable ferrules and lugs as per specification (including cost of ferrules, lugs and glands) | ELECTY | Labour | SWR12510 | 27 | EA | 16200
61 | 18 | Supply of earthing pipe with materials Supply of GI Flat 25X3 mm | ELECTY | Supply | SMR11485 | 105 | KG | 1890
62 | 30 | Running of GI eartn flat of size 25X3mm from all metallic parts of channels, AB Switch, HG fuse set, DTr neutral and LT Distribution box and inter connection of earth pits etc complete | ELECTY | Labour | SWR12125 | 14.03 | M | 420.9
63 | 1 | Loading of 11KV/33KV XLPE UG Cable for all sizes | ELECTY | Labour | SWR11230 | 1024 | DR | 1024
64 | 1 | Transport of conductor drums, cable drums, fragile material such as kiosks, VCBs, control panels, Battery Chargers with Batteries, RMU, current transformers, boosters, lightning arrestors, insulators, transformers, meters (which are less in weight and occupy more space) (excluding of loading unloading) Note: 1). It will be treated as full load of 10 MT and paid for 10 MT. 2). For 3 Ton vehicle : 50% of the following rates Above 30 Km and upto 50 Km with Lorry for each trip | ELECTY | Labour | SWR11863 | 4372.74 | EA | 4372.74
65 | 1 | Loading of 11KV/33KV XLPE UG Cable for all sizes | ELECTY | Labour | SWR11231 | 1024 | DR | 1024
66 | 3 | Supply of earthing pipe with materials - Supply of CI earth pipe 100 mm dia, 2.75 mt long thickness 10mm with flange as per specication | ELECTY | Supply | SMR11482 | 3486 | EA | 10458
67 | 3 | Providing of Earthing - Providing of earthing with excavation of earth pit (0.6 x0.6x2.4 Mts.) duly filling with bentonite, earth , running of earth wire etc., complete, including cost of bentonite and excluding cost of RCC collar of size 0.75M dia x 0.5 M height | ELECTY | Labour | SWR10357 | 1234.2 | EA | 3702.6
68 | 3 | Providing of RCC collar to earth pit. - Providing of RCC Collar guarding to the existing earth pits with damaged masonry including dismantling and removing of existing masonry and fixing the RCC collar of 0.60 M dia X 0.50 M height | ELECTY | Labour | SWR10359 | 386 | EA | 1158
69 | 8 | Yard lightning Supply of stepped tubular poles single way made of steel of length 9mtrs with tensile strength of 42kgf/mm2 at a steps of 4.5 mtrs with outer dia 114.3 mm,2.1 mtrs with outer dia 88.9 mm, 2.1 mtrs with outer dia 76.1 mm, normal Crippling load of 141 kgf, normal Breaking load of 198 kgf ,working Crippling load of 70 kgf, working Breaking load of 79 kgf as per IS 2713. | ELECTY | Supply | SMR40051 | 13913 | EA | 111304
70 | 8 | Excavation of pits in hard rock not requiring blasting. (In hard murram / rock boulders) 9.1 Mtrs PSCC Poles 0.76 M x 0.76M x 1.83M (2.6" x 2.6" x 6.0") | ELECTY | Labour | SWR11039 | 928 | EA | 7424
71 | 8 | Supply of LED fixture set of (LUMINAIRE MAKE: PHILIPS /OSRAM/GE/VENTURE / CROMPTON/BAJAJ/VIN/WIPRO/JAGUAR/ KESELEC/HAVELLS/HPL/SURYA/SYSKA. LED MAKE: PHILIPS LUMILEDS/CREE/NICHIA /OSRAM / SUMSANG/LG LEDs) make with minimum 120 Lm/W Lumens Output, 105 V to 295 V Voltage range, more than 0.94 Power factor, Pressure Die cast Alluminium housing, Powder coated/ anodized finishing, toughed glass lamp cover, IP65 ingress protection, less than 25% THD, minimum 70% electronic efficiency, minimum 140 degrees along the road & 80 degrees across the road beam angle, 4500 to 6500K Color temperature, very low mercury 6.4mg max, Life more than 50,000 burning hours, maximum 20% depreciation during life, Fully cut off control of distribution, Electronic Ballast driver type, minimum 10KV Surge withstand capacity, Poly carbonate reflector/ Poly Carbonate Lens secondary optics, suitable for fixing to existing poles in the Substations, with five years warranty Erection of tubular poles | ELECTY | Labour | SWR10955 | 1379 | EA | 11032
72 | 6.1 | Mass concreting of supports erected with CC (1:4:8) using 40 mm, HB G metal including the cost of metal, sand, Cement and curing etc. - Including the cost of cement | ELECTY | Labour | SWR10356 | 6579 | M3 | 40131.9
73 | 4.62 | Plastering 2 Coats,20/16mm(1:6)(1:4) | ELECTY | Labour | SWR10862 | 1 | M2 | 4.62
74 | 8 | Painting of poles - Paint of coping with 2 coats of white cement incl cost of paints etc. | ELECTY | Labour | SWR11089 | 52.8 | EA | 422.4
75 | 8 | Supply of Metal Handle Lamp 150W | ELECTY | Supply | SMR24635 | 6450 | EA | 51600
76 | 50 | Supply of earthing pipe with materials - Supply of GI Bolts & Nuts etc | ELECTY | Supply | SMR11488 | 117.5 | KG | 5875
77 | 8 | Supply of LED fixture set of (LUMINAIRE MAKE: PHILIPS /OSRAM/GE/VENTURE / CROMPTON/BAJAJ/VIN/WIPRO/JAGUAR/ KESELEC/HAVELLS/HPL/SURYA/SYSKA. LED MAKE: PHILIPS LUMILEDS/CREE/NICHIA /OSRAM / SUMSANG/LG LEDs) make with minimum 120 Lm/W Lumens Output, 105 V to 295 V Voltage range, more than 0.94 Power factor, Pressure Die cast Alluminium housing, Powder coated/ anodized finishing, toughed glass lamp cover, IP65 ingress protection, less than 25% THD, minimum 70% electronic efficiency, minimum 140 degrees along the road & 80 degrees across the road beam angle, 4500 to 6500K Color temperature, very low mercury 6.4mg max, Life more than 50,000 burning hours, maximum 20% depreciation during life, Fully cut off control of distribution, Electronic Ballast driver type, minimum 10KV Surge withstand capacity, Poly carbonate reflector/ Poly Carbonate Lens secondary optics, suitable for fixing to existing poles in the Substations, with five years warranty Fixing of Metal halide lamps with fixtures Make:Philips,Crompton, Bajaj junction box with MCB with 1.5 GI pipe complete. | ELECTY | Labour | SWR10956 | 1268 | EA | 10144
78 | 1 | T & P - Steel almarah(61/2 X 3ft) Godrej | ELECTY | Supply | SMR40061 | 9818 | EA | 9818
79 | 1500 | Supplying & fabrication erection of 6mm Checkerd plates as per the field conditions | ELECTY | Labour | SWR10873 | 83 | KG | 124500
80 | 12 | Rubber mats ( 6’x3’) size for indoor SS | ELECTY | Supply | SMR40068 | 1386 | EA | 16632
81 | 1 | Sup Alluminium Ladder for indoor works | ELECTY | Supply | SMR40062 | 4410 | EA | 4410
82 | 2 | Trolley mounted CO2 (6.5Kgs) | ELECTY | Supply | SMR40087 | 9240 | EA | 18480
83 | 2 | Fire bucket stand with 3 buckets (8 -10 ltr capacity) | ELECTY | Supply | SMR40088 | 1386 | SET | 2772
84 | 6 | Room fire extinguisher (2 ltrs capacity) for control room | ELECTY | Supply | SMR40089 | 4620 | EA | 27720
85 | 4 | Safety Helmets of standard make | ELECTY | Supply | SMR40071 | 231 | EA | 924
86 | 4 | Earth Rods (8ft) Screw & clamp type | ELECTY | Supply | SMR40066 | 578 | EA | 2312
87 | 4 | Hand Gloves | ELECTY | Supply | SMR40067 | 289 | SET | 1156
88 | 1 | Standard basic cell phone with charger | ELECTY | Supply | SMR40069 | 1386 | EA | 1386
89 | 1 | T & P - Table (3x6ft) Godrej | ELECTY | Supply | SMR40057 | 6050 | EA | 6050
90 | 4 | T & P - S type chairs (Godrej) | ELECTY | Supply | SMR40058 | 924 | EA | 3696
91 | 1 | T & P - Angle racks(18x36.6inches) Godrej | ELECTY | Supply | SMR40060 | 1733 | EA | 1733
92 | 10 | Danger boards with clamps | ELECTY | Supply | SMR40070 | 116 | EA | 1160
93 | 1 | Name board of the 33/11kV Sub-Station(As per Standard Specification) | ELECTY | Supply | SMR40086 | 10238 | EA | 10238
94 | 1 | T & P - Wall clock standard make | ELECTY | Supply | SMR40059 | 578 | EA | 578
95 | 1 | T & P - Supply of Taparia Tool kit of Size 20”x10”x15” with tier arrangements Tool box with locking arrangement & key containing (1) Double Ended fix Spanner sets, (Ribbed) 6 x 7, 8 x 9, 10 x 11, 12 x 13, 14 x 15, 16 x 17, 18 x19, 20 x 22, 21 x 23, 24 x 27, 25 x28, 30 x 32, (2) Double Ended Ring Spanners sets, 6 x 7 , 8 x 9, 10 x 11, 12 x 13, 14 x 15. 16 x 17 , 18 x 19, 20 x 22 , 21 x 23, 24 x 27, 25 x28, 30 x 32 mm, (3) Adjustable Spanner 305 mm length least maximum opening 35mm chrome, (4) Pipe Wrench Length 350 mm 14”, (5) Soft faced Hammer with suitable handle 2 lb, (6) Hacksaw frame with metal handle heavy duty for 12" hacksaw blade with High Speed blade, (7) Insulated Screw drivers Transparent Green Handle Set Length 6”, 8” & 12”, (8) Star Screw Driver Transparent Green Handle Length 6”, (9) Insulated Wire Cutter, (10) Insulated Cutting Plier Length 8” with cable stripper insulated with thick C. A. sleeve confirming to IS: 4378 - 1990, (11) Long Nose Plier insulated with thick C.A. sleeve generally confirming to IS:3552-1989, (12) Tester type screw driver (special with neon bulb) generally confirm to IS: 5579- 1985 Grade:II handle yellow/ green colour overall length 130 mm, (13) Insulated Crimping Plier of all Taparia make. | ELECTY | Supply | SMR40063 | 4925 | SET | 4925
96 | 1 | T & P - Rechargeable LED torch light of Standard make | ELECTY | Supply | SMR40064 | 1733 | EA | 1733
97 | 1 | T & P - Hack saw (12 inches) | ELECTY | Supply | SMR40065 | 289 | EA | 289
98 | 8 | LC Boards | ELECTY | Supply | SMR40072 | 116 | EA | 928
99 | 2 | Gum Boots (Pair) | ELECTY | Supply | SMR40073 | 693 | EA | 1386
100 | 1 | Digital clamp meter. | ELECTY | Supply | SMR40076 | 2888 | EA | 2888
101 | 1 | 5000v megger | ELECTY | Supply | SMR40074 | 13860 | EA | 13860
102 | 1 | Supply and fixing of Substation board of size 3'x2.5' indicating the layout of switchyard | ELECTY | Labour | SWR20032 | 1654 | EA | 1654
103 | 1 | Supply and fixing of safety instructions/Substation operation instruction board | ELECTY | Labour | SWR22090 | 2205 | EA | 2205
104 | 1 | Supply of 10ft Aluminium Ladder | ELECTY | Supply | SMR12378 | 1654 | EA | 1654
105 | 3000 | Laying of each additional 33KV UG Cable in Existing Duct | ELECTY | Labour | SWR12452 | 200 | M | 600000
106 | 600 | Excavation & laying of UG Cable in Single Run - Raising of cable on already erected support with wooden / MS clamps and connecting it to over head line with cable jumpers including cost of required wooden cleats, lugs and bolts and nuts through GI pipe (excluding the cost of GI pipe) - 33kV 1x400 Sqmm Cu/ 1x630sqmm Aluminium cable | ELECTY | Labour | SWR11962 | 121.13 | M | 72678
107 | 12 | Supply of 33KV 1Cx400Sqmm PlugTerminationKit | ELECTY | Supply | SMR24773 | 90915 | EA | 1090980
108 | 12 | Inst-33KV 1Cx400Sqmm PlugTerminationKit | ELECTY | Labour | SWR24773 | 15675 | EA | 188100
109 | 32 | Supply of 33KV 1Cx400Sqmm O/d Cb End Kit | ELECTY | Supply | SMR24774 | 6792.5 | EA | 217360
110 | 32 | Inst-33KV 1Cx400Sqmm O/d Cb End Kit | ELECTY | Labour | SWR24774 | 3030.5 | EA | 96976
111 | 12 | Providing of Single Core straight though Joint | ELECTY | Labour | SWR12264 | 3403 | EA | 40836
112 | 8 | Loading of 11KV/33KV XLPE UG Cable for all sizes | ELECTY | Labour | SWR11230 | 1024 | DR | 8192
113 | 8 | Loading of 11KV/33KV XLPE UG Cable for all sizes | ELECTY | Labour | SWR11231 | 1024 | DR | 8192
114 | 4 | Transport of conductor drums, cable drums, fragile material such as kiosks, VCBs, control panels, Battery Chargers with Batteries, RMU, current transformers, boosters, lightning arrestors, insulators, transformers, meters (which are less in weight and occupy more space) (excluding of loading unloading) Note: 1). It will be treated as full load of 10 MT and paid for 10 MT. 2). For 3 Ton vehicle : 50% of the following rates Above 30 Km and upto 50 Km with Lorry for each trip | ELECTY | Labour | SWR11863 | 4372.74 | EA | 17490.96
115 | 1 | Submission of auto CAD Drawing as per pole schedule (Detailed survey and sketch) Up to 10 km | ELECTY | Labour | SWR12104 | 6000 | LS | 6000
116 | 7.5 | Transport of iron materials such as R.S. Joists, Rail Poles, fabricated supports, steel, iron, flat, M.S. Channels etc., by lorries. (excluding of loading & unloading ) Above 30 KM and upto 50 KM | ELECTY | Labour | SWR10134 | 587.52 | TO | 4406.4
117 | 7.5 | Loading of M.S.Channels, Angles, Flats & Rods etc., | ELECTY | Labour | SWR10206 | 221 | TO | 1657.5
118 | 7.5 | Un loading of M.S.Channels, Angles, Flats & Rods etc., | ELECTY | Labour | SWR10524 | 185 | TO | 1387.5
119 | 7 | Fabrication & erection of Channels - Fabrication of Main and Auxiliary structures with welding using raw steel such as RS joist, M.S.Angles, Plates, Channels, including the supply and fabrication of 6mm base plate to the RS-Joist poles excluding cost of Mild Steel and transport charges to substation site, including erection. | ELECTY | Labour | SWR10869 | 3426 | TO | 23982
120 | 7 | Fabrication & erection of Channels - Alligning the Main and Auxiliary structures such as RS joist, M.S.Angles, Plates, Channels, Structure to zero level duly leveling in prefabricated MS frames with Hydraulic jacks before galvanising/ fabrication. | ELECTY | Labour | SWR10867 | 1470 | TO | 10290
121 | 7 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes, labour charges etc., complete. Supply of material cost for First coat of 1st Grade Aluminium Paint, brushes etc. | ELECTY | Supply | SMR40009 | 2181 | TO | 15267
122 | 7 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes, labour charges etc., complete. Labour charges for painting including scratching and cleaning of Sub-station structures of 1st coat of Aluminium | ELECTY | Labour | SWR10877 | 851 | TO | 5957
123 | 7 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes, labour charges etc., complete. (*)Supply of material cost for Second coat of 1st Grade Aluminium Paint, brushes, etc. | ELECTY | Supply | SMR40010 | 1293 | TO | 9051
124 | 7 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes, labour charges etc., complete. (*) Labour charges for painting including scratching and cleaning of Sub-station structures of 2nd coat of Aluminium . | ELECTY | Labour | SWR10879 | 482 | TO | 3374
125 | 208.3 | Fabrication and connecting to risers from earth mat to structures, equipment, marshalling boxes, electrical panels, PLCC panels, fencing posts etc. - M.S./ G.I. Flat 50x6mm / 50 x 8 mm ( Above ground) | ELECTY | Labour | SWR10919 | 41 | RMT | 8540.3
Total (Electrical) Rs. | [7 empty] | 4275282.04
WBS. No. S-1970-13-07-01-01-001
| Estimate Quantity (only Figures) | Item Detailed Specification Description | Work Type eg. Earth Work, Electrical works. etc (upto 200 Characters) | Item Short Description (upto 100 Characters) | APSS / Morth Cl. Number (upto 200 Characters) | Rate (INR) (Upto 2 Decimals ) | UOM (upto 50 Characters) | Amount
1 | 160 | Clearing of site by hiring JCB, complete for the finished item of work | Civil | Labour | SWR34179 | 2226.5 | HR | 356240
2 | 272.16 | Earth work excavation in hard rock boulders more than 3 cum size by using chijlling,benching,wedging and boring in rock complete for item of work | Civil | Labour | SWR33018 | 1504.42 | M3 | 409442.9472
3 | 1508.35 | Earth work excavation in all type of soils red earth, Hard gravelly soils, earth mixed with sand and sandy soils etc., in all conditions such as slushy and dry with initial leads and lifts for foundations. | Civil | Labour | SWR33015 | 539.54 | M3 | 813815.159
4 | 1224.72 | Carting away the debris available at site including loading, unloading etc., upto 10 kms etc., complete | Civil | Labour | SWR34151 | 295 | M3 | 361292.4
5 | 144.48 | Cement concrete (1:4:8) using 40mm HBG metal for foundations and leveling course, including cost and conveyance of all materials, labour all leads and lifts, consolidation and all operations, formwork as required, curing, etc. complete for finished item w | Civil | Labour | SWR33028 | 5960 | M3 | 861100.8
6 |  | RCC 1:1.5:3 nominal mix using 12 to 20 mm HBG metal for following item of works including cost and conveyance of all materials labour scaffolding, centering, machine mixing, vibrating, curing all leads and lifts, in all positions of the building but excludi | Civil | Labour
7 | 195.65 | Reinforced Cement concerete M20 GRADE Nominal Mix Footings | Civil | Labour | SWR33098 | 10978 | M3 | 2147845.7
8 | 352.67 | Reinforced Cement concerete M20 GRADE Nominal Mix Columns Ground floor | Civil | Labour | SWR33100 | 14969 | M3 | 5279117.23
9 | 23.71 | Reinforced Cement concerete M20 GRADE Nominal Mix Plinth Beams | Civil | Labour | SWR33099 | 14073 | M3 | 333670.83
10 | 27.73 | Reinforced Cement concerete M20 GRADE Nominal Mix Beams for Ground Floor | Civil | Labour | SWR33121 | 14033 | M3 | 389135.09
11 | 1.76 | Reinforced Cement concerete M20 GRADE Nominal Mix Lintels | Civil | Labour | SWR33107 | 14810 | M3 | 26065.6
12 | 20.16 | Reinforced Cement concerete M20 GRADE Nominal Mix Sunshade | Civil | Labour | SWR33114 | 1536 | M2 | 30965.76
13 | 211.91 | Reinforced Cement concerete M20 GRADE Nominal Mix Roof slab of 130mm thick | Civil | Labour | SWR33128 | 13451 | M3 | 2850401.41
14 | 104.07 | Supplying, Cutting, bending, binding, placing in position and tying reinforcement steel in all heights including cost and conveyance of steel and binding wire etc,. With all leads and lifts, labour charges, etc., complete for finished item of work. | Civil | Labour | SWR33144 | 74936 | M | 7798589.52
15 | 221.89 | Coursed Rubble stone masonry 2nd sort with hard granite stones in cement mortar (1:6) for basement, including cost and conveyance of all materials, labour charges, curing, all leads and lifts, etc, complete for finished item of work. | Civil | Labour | SWR33041 | 6105 | M3 | 1354638.45
16 | 195.89 | Raised pointing to the exposed surfaces of CRS masonry in cm 1:3 prop. including cost and conveyance of all materials, labour charges, all leads and lifts curing etc, complete for finished item of work. | Civil | Labour | SWR33184 | 137 | M2 | 26836.93
17 | 98.1 | Brick masonry in cement mortar (1:6) for superstructure using well burnt country made second class bricks of approved quality including cost and conveyance of all materials curing, scaffolding with all leads and lifts in all heights etc., complete for fin | Civil | Labour | SWR33068 | 8941 | M3 | 877112.1
18 | 935.39 | Supplying and filling the substation site with borrowed gravel, watering, ramming, thoroughly complying with the standard specification. | Civil | Labour | SWR33052 | 651 | M3 | 608938.89
19 | 2877.03 | Plastering with two coats, 1st coat in cm1:5 16mm thick and 2nd coat in cm 1:4 4mm thick, total 20mm thick for superstructure walls, ceiling, sunshades, Beams, etc., with sponge finishing including cost and conveyance of all materials all leads & lifts e | Civil | Labour | SWR33163 | 613 | M2 | 1763619.39
20 | 75.32 | Providing Design R.C. drop wall of 25mm thickness with cm 1:3 and 6mm dia MS bars at 150mm both ways and chicken mesh in two coats 20mm thick each plastering including cost and conveyance of all materials with leads and lifts, scaffolding and curing, labo | Civil | Labour | SWR33203 | 3554 | M2 | 267687.28
21 | 32.4 | Supplying and fixing Aluminium sliding windows with grill and fixed glass panels using anodised aluminium extruded sections of mat finish for frames and mullions made from approved aluminium sections 62x32x1.2mm at 0.73kg/Rm providing 5mm plain glass fix | Civil | Labour | SWR33277 | 3798.77 | M2 | 123080.148
22 | 43.35 | Supply and fixing of Ms ornamental safety grill of approved design including cost and conveyance of all materials, labour charges etc., complete for finished item of work. | Civil | Labour | SWR33310 | 2790 | M2 | 120946.5
23 | 5.93 | Flush type Doors with 35mm Thick Flush Shutters with Bondwood solied Block Board Type Faced on Both the sides with Commercial Type Plywood (Schedule Item No. 301.) complete for finished item of work. | Civil | Labour | SWR33269 | 4800 | M2 | 28464
24 | 5.88 | Supply and laying of Ceramic floor over of CM 1:3 20 mm thick including required materials and labour charges etc complete for item of work | Civil | Labour | SWR33224 | 961 | M2 | 5650.68
25 | 242 | Flooring with double machine polished and hand cut Tandur blue stone 20mm thick of approved colour, quality and of minimum of 300x300mm size over a bed of cement mortar 1:3 20mm thick including cost of all materials, with all leads and lifts jointing and | Civil | Labour | SWR33219 | 688 | M2 | 166496
26 | 33.88 | Supply and fixing of coloured back ground glazed tiles of approved design and make of minimum size of 8''x8'' including cost and conveyance of all materials labour charges etc., complete for finished item of work. | Civil | Labour | SWR33224 | 961 | M2 | 32558.68
27 | 19.8 | Supply and fixing of 4" high skirting of shabad stone to the walls including cost and conveyance of all materials, labour etc for finished item of work. | Civil | Labour | SWR33236 | 783 | M2 | 15503.4
28 | 802.44 | Inside painting with two coats of OBD over a primary coat total three coats of approved colour and quality including cost and conveyance of all materials labour charges etc., complete for finished item of work. | Civil | Labour | SWR33333 | 161.36 | M2 | 129481.7184
29 | 1147.56 | Outside painting with two coats of ACE paint over a primary coat total three coats of approved colour and quality including cost and conveyance of all materials, labour charges etc., complete for finished item of work. | Civil | Labour | SWR33356 | 232.28 | M2 | 266555.2368
30 | 18.8 | Supplying and fixing Alluminium glazed door cum fixed window or door using anodised alluminium extruded sections and mat finish for frames sites and Handle/knib,locking arrangements and 4.0mm plain glass fixed to the frame with beeding and qasket with all | Civil | Labour | SWR33272 | 6413.82 | M2 | 120579.816
31 | 7.76 | Cement concrete (1:2:4) using 20mm size well graded HBG metal for foundations, including cost, conveyance of all materials,labour all leads and lifts,consolidation and all operations, formwork as required, curing,etc. complete for finished item of work | Civil | Labour | SWR33030 | 7443 | M2 | 57757.68
32 | 23175.82 | Supply and fabrication of Angles, Channels, Beams including labour charges complete for the finished item of work. | Civil | Labour | SWR33145 | 120 | Kg | 2781098.4
33 | 146 | Supply & fixing of 25mm dia 1.5mm thick surface P.V.C. pipe (ISI MARK) Concealed in RCC Slab with all required accessories including masonary work and labour charges etc.complete. | Civil | Labour | SWR33441 | 120 | RMT | 17520
34 | 1 | Supply and fixing of 4way TPN distribution board concealed in wall . | Civil | Labour | SWR33526 | 12751 | EA | 12751
35 | 7 | Supply and fixing of 6A 3/2 pin flush type plug socket with 6A flush type marked switch control on a common board with earth continuity etc. | Civil | Labour | SWR33461 | 594 | EA | 4158
36 | 5 | Supply and fixing of 16A 3pin flush type plug socket and | Civil | Labour | SWR33463 | 431 | EA | 2155
37 | 58 | Wiring with 2x1.00 Sq.mm (14/0.3mm) PVC insulated flexible copper cable in the existing metallic /non metallic conduit pipe with 6A flush type marked switch, ceiling rose and 3mm thick hylum sheet covering to switch control box including all labour charge | Civil | Labour | SWR33598 | 877 | EA | 50866
38 | 24 | Supply & fixing of 1X40W patty type tube light luminaire with copper choke,starter etc.,incuding 1No 40W tube etc., complete | Civil | Labour | SWR33543 | 768 | EA | 18432
39 | 2 | Supply of 12" (300mm) ISI, 900 RPM Heavy duty exhaust fan with metallic blades with Mark of makes Crompton / Almounard / Havells Turbo Force. | Civil | Labour | SWR33573 | 3941 | EA | 7882
40 | 480 | Supply and run of 2 of 22/0.3mm (1.5 sq.mm) (FR) P.V.C. insulated flexible copper cable in existing pipe for mains including all labour charges complete. | Civil | Labour | SWR33496 | 83 | RMT | 39840
41 | 280 | Supply and run of 2 of 36/0.3mm (2.5 sq.mm) FR P.V.C. insulated flexible copper cable in existing pipe for mains including all labour charges complete. | Civil | Labour | SWR33497 | 114 | RMT | 31920
42 | 8 | Supply & fixing of batten holder /slanting holder in lieu of ceiling rose of light point complete with all connection and all labour charges with 40W bulb (for new installation) | Civil | Labour | SWR33484 | 151 | EA | 1208
43 | 8 | Supply & fixing of 1200mm (48'') sweep 230v,A.C 50 Hz.Ceiling fan with 3 Blades and double ball bearings with all standared accessories. | Civil | Labour | SWR33563 | 2305 | EA | 18440
44 | 1 | Providing independent EARTHING by excavating a trench to a depth of 2.1M in all solid,as per size specified in the Data,using 40mm dia 'B' class GI pipe of 2.5 Mtrs length with necessary accessories with hume pipe ring duly providing staggered holes including filling with equal proportion of salt and Charcoal in layers and all labour charges etc., compiete for small quarters. | Civil | Labour | SWR33596 | 5614 | EA | 5614
45 | 20 | Supplying, laying, jointing and testing 101.6 mm SWG SP-1 pipes of ISI make conforming to ISI 651 & 4127 with airtight cement joints in CM 1.5:1 prop. Including excavation of trenches and socket pits in any soil (except rock requiring blasting) up to 1524 mm(5'0") depth and refilling with watering and tamping. | Civil | Labour | SWR34282 | 692 | Rmt | 13840
46 | 5 | Constructing 904.0 mm (3’0”) dia brick masonry inspection chamber as per IS - 4111: Part-1:1986 with cement mortar (1:6) prop using 2nd Class Clay Bricks of 225 mm thick from approved source having a minimum crushing strength of 5 N/sq.mm including plastering with cement mortar 1:3 prop; ½” thick both inside and outside fitted with 20” dia RCC manhole covers and frames including excavating pits up to a depth of 904 mm (3'-0") in all sorts of soils (excluding rock) and laying cement concrete (1:4:8) 150 mm thick using 40 mm HBG Metal and P.C.C. 1:2:4 benching and channel 100 mm thick as per Standard specification and including cost and conveyance of all materials like cement, sand, bricks, water etc., to site, cost of seigniorage charges on all materials and all incidental and operational, labour charges like mixing cement mortar, constructing masonry, lift charges, curing etc., complete for finished item of work as per Standard specification. | Civil | Labour | SWR34296 | 9155 | EA | 45775
47 | 2 | Supply & fixing of 110 mm dia - Door Bend 87.5 Degree - UPVC/SWR Pipe fittings (Prince/Sudhakar or any ISI Brand) | Civil | Labour | SWR34381 | 132 | EA | 264
48 | 2 | Supply & fixing of 110 mm dia - Plain Bend 87.5 Degree - UPVC/SWR Pipe fittings (Prince/Sudhakar or any ISI Brand) | Civil | Labour | SWR34380 | 104 | EA | 208
49 | 1 | Making drainage connection in the existing inspection chamber including all repairs. | Civil | Labour | SWR34438 | 259 | EA | 259
50 | 6 | Supply & fixing of 110 mm dia 3 M Single Socket PVC/SWR pipe - 6 Kg/sq.cm - Prince/Sudhakar or any ISI Brand | Civil | Labour | SWR34377 | 488 | Rmt | 2928
51 | 6 | Supply & fixing of 90 mm dia 3 M Single Socket PVC/SWR pipe - 6 Kg/sq.cm - Prince/Sudhakar or any ISI Brand | Civil | Labour | SWR34378 | 435.33 | Rmt | 2611.98
52 | 2 | Supply & fixing 75 mm dia - Coupler - UPVC/SWR Pipe fittings (Prince/Sudhakar or any ISI Brand) | Civil | Labour | SWR34379 | 329 | EA | 658
53 | 2 | Supply & fixing 100 mm dia Cowl - CI (Spun) fittings | Civil | Labour | SWR34453 | 24 | EA | 48
54 | 2 | Supplying & fixing 150 mm x 100 mm SWG gully traps conforming to ISI 651 & 4127 with C.I Grating & Cost. Brick masonry in CM 1:6 prop. Intermediate chamber and fitted with 304.8 mm x 288.6mm (12"x9") C.I Frame and hinged cover | Civil | Labour | SWR34286 | 792.4 | EA | 1584.8
55 | 1 | Supplying and Fixing European Water Closet of 1st quality conforming to IS:2556-Part-2-1973 of Hindustan / Neycer or Parryware make white glazed with 'S' trap | Civil | Labour | SWR34314 | 2330 | EA | 2330
56 | 1 | Supplying and Fixing best Indian make plastic seat and lid for European water closets with rubber or plastic Buffers as per IS 2548-1996 | Civil | Labour | SWR34315 | 1374 | EA | 1374
57 | 2 | Supply & fixing 12.7 mm NP stop cock Indian make 400 grams Seiko/ Senior/ Nice/ Senior/ Nice or equivalent | Civil | Labour | SWR34328 | 754 | EA | 1508
58 | 5 | S&F 12.7 mm N.P bib tap Indian make 400 grams Seiko/ Senior/ Nice or equivalent | Civil | Labour | SWR34329 | 314 | EA | 1570
59 | 1 | Supplying & Fixing Indian make Flat Back Wash Hand Basin (HSW/Parryware/ Neycer) 1st quality conforming to IS:2556-Part-4:1972 with waste fittings like rubber plug, chain, 32 mm nominal size C.P. Fitting with parallel pipe thread conforming to IS:2963-1979 and fitted with 15 mm nominal bore Chromium Plated Pillar Tap of 1st quality Indian make 400 grams Seiko/ Senior/ Nice/ Esso or equivalent complete with standard CI brackets including wooden block: 550 x 400 mm - Single C.P. Pillar cock | Civil | Labour | SWR34316 | 1824 | EA | 1824
60 | 3 | Supply & fixing 38.1 mm C.P waste coupling Half or Full Thread 1st Quality Indian make Parryware or equivalent | Civil | Labour | SWR34428 | 280 | EA | 840
61 | 3 | Supply & fixing of 4" (101.6 mm ) Nahany Trap ( Without Jali with inlet)UPVC/SWR Pipe fittings (Prince/Sudhakar or any ISI Brand) | Civil | Labour | SWR34387 | 139 | EA | 417
62 | 1 | Supplying & Fixing low down flushing tank 10 Lit Capacity Hindustan Sanitary ware/ parry/ Neycer with internal components | Civil | Labour | SWR34376 | 2118 | EA | 2118
63 | 1000 | Providing & Placing on Terrace (at all floor levels) polyethylene water storage tank with Double layer approved brand & manufacture with cover and suitable locking arrangement & making necessary holes for inlet & outlets and over flow pipes but with NECESSARY fittings & base support for tanks | Civil | Labour | SWR34375 | 11 | L | 11000
64 | 2 | Supply & fixing 31.75 mm dia PVC flexible waste pipe of 914.4 mm length of Ist quality | Civil | Labour | SWR34426 | 35 | EA | 70
65 | 5 | Supply and Fixing of Ashirvad/ Ajay/ Astral Flowguard or equivalent CPVC Pipes and Fittings to meet the requirement of ASTM-D 2846 and are produced in CTS (Copper Tube Sizes 1/2" ton 2" Ashirvad Flowgurard SDR 11 and SDR 13.5 pipes are made from idential CPVC compounds having the same physical Properties for Hot and Cold Water (IS 15778:2007)- 15.90mm OD Pipe - SDR 11 | Civil | Labour | SWR34361 | 239 | Rmt | 1195
66 | 60 | Supply and Fixing of Ashirvad/ Ajay/ Astral Flowguard or equivalent CPVC Pipes and Fittings to meet the requirement of ASTM-D 2846 and are produced in CTS (Copper Tube Sizes 1/2" ton 2" Ashirvad Flowgurard SDR 11 and SDR 13.5 pipes are made from idential CPVC compounds having the same physical Properties for Hot and Cold Water (IS 15778:2007)-22.20mm OD Pipe - SDR 11 | Civil | Labour | SWR34362 | 323 | Rmt | 19380
67 | 25 | Supply and Fixing of Ashirvad/ Ajay/ Astral Flowguard or equivalent CPVC Pipes and Fittings to meet the requirement of ASTM-D 2846 and are produced in CTS (Copper Tube Sizes 1/2" ton 2" Ashirvad Flowgurard SDR 11 and SDR 13.5 pipes are made from idential CPVC compounds having the same physical Properties for Hot and Cold Water (IS 15778:2007)-28.60mm OD Pipe - SDR 11 | Civil | Labour | SWR34363 | 423 | Rmt | 10575
68 | 1 | Supply & fixing Gunmetal (GM) Ball valve with SS Ball and SS Spindle as per IS - Class - I, Indian make heavy type - 25mm NB Size | Civil | Labour | SWR34346 | 481 | EA | 481
69 | 1 | Supply & fixing Gunmetal (GM) Ball valve with SS Ball and SS Spindle as per IS - Class - I, Indian make heavy type - 20mm NB Size | Civil | Labour | SWR34345 | 342 | EA | 342
70 | 1 | Supply & fixing 25.4 mm dia & 609.6 mm long aluminium anodized towel rod with brackets and aluminium screws | Civil | Labour | SWR34431 | 164 | EA | 164
71 | 1 | Supply & fixing NP soap dish heavy type with NP screws | Civil | Labour | SWR34429 | 657 | EA | 657
72 | 1 | Geophysical Investgation charges for water point by Geologist | Civil | Labour | SWR33608 | 5500 | EA | 5500
73 | 90 | Drill-165mm Bore Well 0 to 90 | Civil | Labour | SWR33609 | 520 | Rmt | 46800
74 | 30 | Drill-165mm Bore Well 90M to 120M | Civil | Labour | SWR34830 | 520 | Rmt | 15600
75 | 30 | Drill-165mm Bore Well 120M to 150M | Civil | Labour | SWR34831 | 520 | Rmt | 15600
76 | 30 | Drill-165mm Bore Well 150M to 180M | Civil | Labour | SWR34832 | 520 | Rmt | 15600
77 | 30 | Drill-165mm Bore Well 180M to 210M | Civil | Labour | SWR34833 | 650 | Rmt | 19500
78 | 30 | Drill-165mm Bore Well 210M to 240M | Civil | Labour | SWR34834 | 785 | Rmt | 23550
79 | 30 | Drill-165mm Bore Well 240M to 270M | Civil | Labour | SWR34835 | 955 | Rmt | 28650
80 | 120 | Drill-165mm Bore Well 270M and above | Civil | Labour | SWR34836 | 1130 | Rmt | 135600
81 | 25 | Supply and fixing of 160mm dia PVC casing of A class 6Kg point pressure including cost and conveyance of all materials labour charges etc complete for finished item of work as directed by the engineer-in-charge. | Civil | Labour | SWR33611 | 900 | Rmt | 22500
82 | 1 | Supply and erecting, ISI mark submersible 3.0 HP, Three Phase SubMrsbl Pumpset 5HP 12-16Stages suitable for 106/156mm dia borewell including cost and conveyance of all materials labour charges etc complete for finished item of work | Civil | Labour | SWR33637 | 46462 | EA | 46462
83 | 185 | Supply and fixing of HDPE pipe 40mm dia of 16Kg/cm2 including cost and conveyance of all materials labour charges etc complete for finished item of work as directed by the engineer-in-charge. | Civil | Labour | SWR34410 | 173 | Rmt | 32005
84 | 1 | Supply and erecting D.O.L Starter 250V , Single phase,50Hz with SS enclouserincluding cost and conveyance of all materials labour charges etc complete for finished item of work | Civil | Labour | SWR33644 | 2400 | EA | 2400
85 | 220 | Supply of 3 Core 2.5 Sqmm Flat Copper cable of ISI for Submersible Motors of makes Finolex / Polycab / Gold Medal / Million / Payal / Sun Light / Power Flex / Fortune Art | Civil | Labour | SWR33641 | 222 | Rmt | 48840
86 | 1 | Provd-DGPS & Total Staion Survey | Civil | Labour | SWR34506 | 5400 | EA | 5400
87 | 1 | Providing supply of electricity to the site premises through custamer service centre duly applying for new connection including service wire, application complete the work. | Civil | Labour | SWR33425 | 5950 | EA | 5950
88 | 1 | Providing consultancy services for arranging contour surveying with total station including preparation of boundary and contour levels with 2 No.s hard copies and soft copies complete for finished items of work. | Civil | Labour | SWR33427 | 6150 | Jobs | 6150
89 | 4800 | Provd 2Sets of Structural Drawings | Civil | Labour | SWR33426 | 5.5 | ft2 | 26400
90 | 1326.75 | Seigniorage Charges - Sand | Civil | Labour | SWR34470 | 40 | Cum | 53070
91 | 1092.56 | Seigniorage Charges - Metal | Civil | Labour | SWR34471 | 30 | Cum | 32776.8
92 | 935.39 | Seigniorage Charges - Gravel | Civil | Labour | SWR34472 | 75 | Cum | 70154.25
|  | Total Civil Rs. | [5 empty] | 31398003.5754
Total (Electrical+Civil) Excl. GST in Rs | [7 empty] | 35673285.6154
Total (Electrical+Civil) Incl. GST in Rs. | [7 empty] | 42094477.0262